## Result sheet
Method name: Findit (Modified)
Application: SparkControl |  |  |  | V3.0
Device: Spark |  |  |  | Serial number: 2003000564
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2021-07-29
Time: |  |  |  | 3:11 PM
System |  |  |  | DESKTOP-4883Q91
User |  |  |  | DESKTOP-4883Q91\TECAN
Plate |  |  |  | [COS384fb_low volume] - Corning 384 Flat Black Cat. No.: 3540/3544/3820/3821/3821BC
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Kinetic
|  | Fluorescence Top Reading |  |  |  | findit_75
|  | Fluorescence Top Reading |  |  |  | findit_55
Name |  |  |  | COS384fb_low volume
Plate layout
Plate area |  |  |  | C1-F14
Start Time |  |  |  | 2021-07-29 13:11:20
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 37
End Time |  |  |  | 2021-07-29 13:11:20
Start Time |  |  |  | 2021-07-29 13:11:20
Shaking (Linear) Duration [s] |  |  |  | 10
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2021-07-29 13:11:30
Mode | Kinetic
Kinetic duration [hhmmss] |  |  |  | 02:00:00
Interval time [hhmmss] |  |  |  | 00:02:00
Mode | Fluorescence Top Reading
Name | findit_75
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 485
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 535
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 75
Mirror |  |  |  | Dichroic 510
Number of flashes |  |  |  | 25
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 10
Z-Position [μm] |  |  |  | 18966
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | C1-F14
Mode | Fluorescence Top Reading
Name | findit_55
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 485
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 535
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 55
Mirror |  |  |  | Dichroic 510
Number of flashes |  |  |  | 25
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 10
Z-Position [μm] |  |  |  | 18966
Z-Position mode findit_75 |  |  |  | Same as
Part of Plate |  |  |  | C1-F14
Start Time |  |  |  | 2021-07-29 13:11:38
findit_3_75
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | A13 | A14 | A15 | A16 | A17 | A18 | A19 | A20 | A21 | A22 | A23 | A24 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | B13 | B14 | B15 | B16 | B17 | B18 | B19 | B20 | B21 | B22 | B23 | B24 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | C13 | C14 | C15 | C16 | C17 | C18 | C19 | C20 | C21 | C22 | C23 | C24 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | D13 | D14 | D15 | D16 | D17 | D18 | D19 | D20 | D21 | D22 | D23 | D24 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | E13 | E14 | E15 | E16 | E17 | E18 | E19 | E20 | E21 | E22 | E23 | E24 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | F13 | F14 | F15 | F16 | F17 | F18 | F19 | F20 | F21 | F22 | F23 | F24 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | G13 | G14 | G15 | G16 | G17 | G18 | G19 | G20 | G21 | G22 | G23 | G24 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12 | H13 | H14 | H15 | H16 | H17 | H18 | H19 | H20 | H21 | H22 | H23 | H24 | I1 | I2 | I3 | I4 | I5 | I6 | I7 | I8 | I9 | I10 | I11 | I12 | I13 | I14 | I15 | I16 | I17 | I18 | I19 | I20 | I21 | I22 | I23 | I24 | J1 | J2 | J3 | J4 | J5 | J6 | J7 | J8 | J9 | J10 | J11 | J12 | J13 | J14 | J15 | J16 | J17 | J18 | J19 | J20 | J21 | J22 | J23 | J24 | K1 | K2 | K3 | K4 | K5 | K6 | K7 | K8 | K9 | K10 | K11 | K12 | K13 | K14 | K15 | K16 | K17 | K18 | K19 | K20 | K21 | K22 | K23 | K24 | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | L9 | L10 | L11 | L12 | L13 | L14 | L15 | L16 | L17 | L18 | L19 | L20 | L21 | L22 | L23 | L24 | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | M10 | M11 | M12 | M13 | M14 | M15 | M16 | M17 | M18 | M19 | M20 | M21 | M22 | M23 | M24 | N1 | N2 | N3 | N4 | N5 | N6 | N7 | N8 | N9 | N10 | N11 | N12 | N13 | N14 | N15 | N16 | N17 | N18 | N19 | N20 | N21 | N22 | N23 | N24 | O1 | O2 | O3 | O4 | O5 | O6 | O7 | O8 | O9 | O10 | O11 | O12 | O13 | O14 | O15 | O16 | O17 | O18 | O19 | O20 | O21 | O22 | O23 | O24 | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P12 | P13 | P14 | P15 | P16 | P17 | P18 | P19 | P20 | P21 | P22 | P23 | P24
1 | 0 | 37 | C1: 2093; C2: 2107; C3: 2105; C4: 2114; C5: 2090; C6: 2121; C7: 2057; C8: 2172; C9: 2163; C10: 2145; C11: 2155; C12: 2068; C13: 2201; C14: 2105; D1: 63; D2: 2105; D3: 59; D4: 2096; D5: 59; D6: 2183; D7: 55; D8: 2160; D9: 55; D10: 2140; D11: 57; D12: 2146; D13: 55; D14: 2009; E1: 2014; E2: 2114; E3: 2084; E4: 2071; E5: 2120; E6: 2082; E7: 2080; E8: 2087; E9: 2156; E10: 2043; E11: 2077; E12: 2007; E13: 2081; E14: 2062; F1: 60; F2: 2089; F3: 56; F4: 2150; F5: 57; F6: 2121; F7: 58; F8: 2101; F9: 63; F10: 2080; F11: 58; F12: 2079; F13: 57; F14: 1961
2 | 120.008 | 36.8 | C1: 2090; C2: 2091; C3: 2087; C4: 2121; C5: 2086; C6: 2080; C7: 2031; C8: 2147; C9: 2123; C10: 2144; C11: 2067; C12: 2061; C13: 2137; C14: 2103; D1: 61; D2: 2098; D3: 58; D4: 2091; D5: 57; D6: 2172; D7: 56; D8: 2137; D9: 56; D10: 2112; D11: 55; D12: 2119; D13: 54; D14: 1993; E1: 1987; E2: 2099; E3: 2060; E4: 2055; E5: 2095; E6: 2074; E7: 2063; E8: 2067; E9: 2155; E10: 2026; E11: 2044; E12: 2007; E13: 2052; E14: 2051; F1: 59; F2: 2061; F3: 56; F4: 2103; F5: 54; F6: 2106; F7: 59; F8: 2091; F9: 58; F10: 2070; F11: 56; F12: 2068; F13: 55; F14: 1944
3 | 240.013 | 36.7 | C1: 2090; C2: 2092; C3: 2085; C4: 2122; C5: 2074; C6: 2087; C7: 2025; C8: 2129; C9: 2127; C10: 2157; C11: 2072; C12: 2064; C13: 2127; C14: 2095; D1: 61; D2: 2065; D3: 57; D4: 2073; D5: 58; D6: 2161; D7: 55; D8: 2132; D9: 55; D10: 2107; D11: 55; D12: 2118; D13: 52; D14: 1981; E1: 1990; E2: 2082; E3: 2047; E4: 2056; E5: 2109; E6: 2077; E7: 2045; E8: 2059; E9: 2165; E10: 2018; E11: 2050; E12: 1983; E13: 2056; E14: 2047; F1: 59; F2: 2063; F3: 53; F4: 2117; F5: 55; F6: 2105; F7: 56; F8: 2087; F9: 59; F10: 2065; F11: 56; F12: 2078; F13: 55; F14: 1948
4 | 360.022 | 36.7 | C1: 2099; C2: 2096; C3: 2094; C4: 2126; C5: 2098; C6: 2095; C7: 2036; C8: 2139; C9: 2121; C10: 2152; C11: 2062; C12: 2064; C13: 2129; C14: 2092; D1: 59; D2: 2076; D3: 57; D4: 2081; D5: 55; D6: 2163; D7: 56; D8: 2135; D9: 52; D10: 2107; D11: 54; D12: 2108; D13: 54; D14: 1983; E1: 2023; E2: 2098; E3: 2069; E4: 2050; E5: 2113; E6: 2095; E7: 2081; E8: 2073; E9: 2177; E10: 2019; E11: 2047; E12: 1982; E13: 2071; E14: 2058; F1: 58; F2: 2078; F3: 55; F4: 2106; F5: 54; F6: 2106; F7: 57; F8: 2099; F9: 58; F10: 2061; F11: 56; F12: 2071; F13: 56; F14: 1943
5 | 480.025 | 36.8 | C1: 2129; C2: 2098; C3: 2105; C4: 2140; C5: 2106; C6: 2094; C7: 2051; C8: 2164; C9: 2131; C10: 2169; C11: 2067; C12: 2071; C13: 2134; C14: 2110; D1: 59; D2: 2086; D3: 56; D4: 2074; D5: 54; D6: 2176; D7: 55; D8: 2146; D9: 55; D10: 2119; D11: 55; D12: 2120; D13: 53; D14: 2000; E1: 2047; E2: 2116; E3: 2067; E4: 2059; E5: 2132; E6: 2098; E7: 2090; E8: 2086; E9: 2200; E10: 2041; E11: 2076; E12: 2010; E13: 2096; E14: 2080; F1: 57; F2: 2102; F3: 54; F4: 2137; F5: 53; F6: 2112; F7: 53; F8: 2120; F9: 57; F10: 2092; F11: 55; F12: 2081; F13: 55; F14: 1967
6 | 600.03 | 36.9 | C1: 2159; C2: 2139; C3: 2143; C4: 2156; C5: 2112; C6: 2119; C7: 2064; C8: 2184; C9: 2148; C10: 2190; C11: 2088; C12: 2074; C13: 2144; C14: 2120; D1: 58; D2: 2106; D3: 59; D4: 2100; D5: 55; D6: 2187; D7: 54; D8: 2165; D9: 53; D10: 2136; D11: 54; D12: 2150; D13: 52; D14: 2007; E1: 2075; E2: 2132; E3: 2107; E4: 2086; E5: 2161; E6: 2118; E7: 2110; E8: 2101; E9: 2222; E10: 2060; E11: 2099; E12: 2017; E13: 2113; E14: 2091; F1: 53; F2: 2121; F3: 53; F4: 2150; F5: 54; F6: 2153; F7: 55; F8: 2135; F9: 56; F10: 2092; F11: 52; F12: 2092; F13: 55; F14: 1997
7 | 720.043 | 36.9 | C1: 2225; C2: 2203; C3: 2163; C4: 2182; C5: 2166; C6: 2151; C7: 2082; C8: 2196; C9: 2165; C10: 2202; C11: 2119; C12: 2107; C13: 2169; C14: 2155; D1: 59; D2: 2135; D3: 55; D4: 2102; D5: 55; D6: 2217; D7: 55; D8: 2165; D9: 53; D10: 2155; D11: 53; D12: 2163; D13: 54; D14: 2028; E1: 2115; E2: 2175; E3: 2123; E4: 2117; E5: 2187; E6: 2131; E7: 2139; E8: 2119; E9: 2161; E10: 2088; E11: 2126; E12: 2051; E13: 2136; E14: 2120; F1: 54; F2: 2166; F3: 54; F4: 2177; F5: 54; F6: 2168; F7: 54; F8: 2161; F9: 57; F10: 2122; F11: 55; F12: 2120; F13: 53; F14: 2029
8 | 840.046 | 36.9 | C1: 2266; C2: 2230; C3: 2196; C4: 2226; C5: 2209; C6: 2197; C7: 2123; C8: 2242; C9: 2201; C10: 2244; C11: 2145; C12: 2133; C13: 2208; C14: 2170; D1: 58; D2: 2181; D3: 55; D4: 2132; D5: 55; D6: 2248; D7: 55; D8: 2179; D9: 53; D10: 2175; D11: 52; D12: 2187; D13: 51; D14: 2056; E1: 2170; E2: 2238; E3: 2161; E4: 2151; E5: 2220; E6: 2186; E7: 2170; E8: 2156; E9: 2196; E10: 2122; E11: 2152; E12: 2088; E13: 2161; E14: 2145; F1: 58; F2: 2223; F3: 53; F4: 2226; F5: 53; F6: 2194; F7: 53; F8: 2202; F9: 56; F10: 2163; F11: 55; F12: 2135; F13: 55; F14: 2072
9 | 960.062 | 36.8 | C1: 2335; C2: 2299; C3: 2238; C4: 2261; C5: 2246; C6: 2240; C7: 2172; C8: 2284; C9: 2228; C10: 2289; C11: 2174; C12: 2175; C13: 2232; C14: 2218; D1: 58; D2: 2239; D3: 55; D4: 2167; D5: 55; D6: 2282; D7: 52; D8: 2233; D9: 53; D10: 2215; D11: 54; D12: 2228; D13: 51; D14: 2099; E1: 2251; E2: 2315; E3: 2233; E4: 2232; E5: 2288; E6: 2228; E7: 2226; E8: 2207; E9: 2254; E10: 2171; E11: 2194; E12: 2120; E13: 2217; E14: 2205; F1: 55; F2: 2284; F3: 53; F4: 2286; F5: 54; F6: 2266; F7: 55; F8: 2246; F9: 57; F10: 2210; F11: 54; F12: 2189; F13: 52; F14: 2121
10 | 1080.077 | 36.9 | C1: 2404; C2: 2338; C3: 2291; C4: 2335; C5: 2287; C6: 2285; C7: 2219; C8: 2329; C9: 2291; C10: 2313; C11: 2229; C12: 2212; C13: 2270; C14: 2273; D1: 58; D2: 2299; D3: 55; D4: 2214; D5: 54; D6: 2330; D7: 52; D8: 2281; D9: 53; D10: 2266; D11: 53; D12: 2275; D13: 51; D14: 2134; E1: 2335; E2: 2407; E3: 2293; E4: 2272; E5: 2352; E6: 2278; E7: 2298; E8: 2280; E9: 2324; E10: 2227; E11: 2267; E12: 2185; E13: 2288; E14: 2259; F1: 54; F2: 2355; F3: 54; F4: 2345; F5: 52; F6: 2325; F7: 54; F8: 2305; F9: 55; F10: 2254; F11: 53; F12: 2240; F13: 52; F14: 2139
11 | 1200.078 | 37 | C1: 2476; C2: 2417; C3: 2349; C4: 2371; C5: 2375; C6: 2347; C7: 2277; C8: 2366; C9: 2342; C10: 2367; C11: 2275; C12: 2262; C13: 2332; C14: 2343; D1: 58; D2: 2351; D3: 53; D4: 2256; D5: 53; D6: 2405; D7: 52; D8: 2321; D9: 52; D10: 2313; D11: 53; D12: 2319; D13: 52; D14: 2169; E1: 2435; E2: 2491; E3: 2376; E4: 2342; E5: 2431; E6: 2371; E7: 2359; E8: 2329; E9: 2399; E10: 2300; E11: 2330; E12: 2236; E13: 2330; E14: 2304; F1: 57; F2: 2448; F3: 53; F4: 2426; F5: 53; F6: 2412; F7: 53; F8: 2373; F9: 56; F10: 2326; F11: 53; F12: 2299; F13: 53; F14: 2213
12 | 1320.087 | 37 | C1: 2556; C2: 2475; C3: 2412; C4: 2426; C5: 2421; C6: 2392; C7: 2313; C8: 2422; C9: 2401; C10: 2413; C11: 2316; C12: 2305; C13: 2380; C14: 2362; D1: 59; D2: 2415; D3: 53; D4: 2323; D5: 53; D6: 2446; D7: 53; D8: 2372; D9: 53; D10: 2365; D11: 53; D12: 2361; D13: 51; D14: 2221; E1: 2513; E2: 2586; E3: 2455; E4: 2416; E5: 2513; E6: 2427; E7: 2410; E8: 2398; E9: 2471; E10: 2344; E11: 2387; E12: 2285; E13: 2390; E14: 2371; F1: 57; F2: 2568; F3: 54; F4: 2500; F5: 55; F6: 2460; F7: 54; F8: 2443; F9: 54; F10: 2388; F11: 54; F12: 2362; F13: 52; F14: 2244
13 | 1440.097 | 36.9 | C1: 2636; C2: 2552; C3: 2480; C4: 2501; C5: 2477; C6: 2464; C7: 2378; C8: 2479; C9: 2446; C10: 2486; C11: 2387; C12: 2366; C13: 2442; C14: 2430; D1: 59; D2: 2475; D3: 54; D4: 2357; D5: 53; D6: 2509; D7: 54; D8: 2415; D9: 53; D10: 2422; D11: 54; D12: 2412; D13: 52; D14: 2267; E1: 2661; E2: 2701; E3: 2532; E4: 2511; E5: 2588; E6: 2521; E7: 2472; E8: 2471; E9: 2548; E10: 2418; E11: 2457; E12: 2359; E13: 2453; E14: 2447; F1: 55; F2: 2673; F3: 53; F4: 2565; F5: 54; F6: 2535; F7: 54; F8: 2514; F9: 54; F10: 2450; F11: 54; F12: 2410; F13: 53; F14: 2323
14 | 1560.102 | 36.9 | C1: 2738; C2: 2635; C3: 2554; C4: 2550; C5: 2563; C6: 2516; C7: 2437; C8: 2545; C9: 2510; C10: 2528; C11: 2442; C12: 2431; C13: 2489; C14: 2484; D1: 58; D2: 2560; D3: 53; D4: 2441; D5: 55; D6: 2592; D7: 53; D8: 2500; D9: 52; D10: 2466; D11: 52; D12: 2461; D13: 52; D14: 2313; E1: 2785; E2: 2824; E3: 2626; E4: 2606; E5: 2666; E6: 2596; E7: 2568; E8: 2555; E9: 2637; E10: 2498; E11: 2532; E12: 2433; E13: 2520; E14: 2513; F1: 57; F2: 2797; F3: 53; F4: 2665; F5: 54; F6: 2637; F7: 56; F8: 2587; F9: 55; F10: 2533; F11: 53; F12: 2487; F13: 54; F14: 2398
15 | 1680.102 | 36.9 | C1: 2837; C2: 2753; C3: 2627; C4: 2632; C5: 2635; C6: 2606; C7: 2503; C8: 2581; C9: 2592; C10: 2607; C11: 2516; C12: 2485; C13: 2559; C14: 2563; D1: 56; D2: 2642; D3: 53; D4: 2499; D5: 53; D6: 2664; D7: 54; D8: 2541; D9: 51; D10: 2532; D11: 53; D12: 2516; D13: 51; D14: 2370; E1: 2915; E2: 2972; E3: 2730; E4: 2701; E5: 2778; E6: 2702; E7: 2639; E8: 2641; E9: 2730; E10: 2577; E11: 2632; E12: 2508; E13: 2613; E14: 2583; F1: 54; F2: 2926; F3: 52; F4: 2769; F5: 55; F6: 2711; F7: 53; F8: 2682; F9: 52; F10: 2599; F11: 55; F12: 2566; F13: 54; F14: 2458
16 | 1800.102 | 36.9 | C1: 2951; C2: 2829; C3: 2712; C4: 2716; C5: 2720; C6: 2677; C7: 2577; C8: 2681; C9: 2655; C10: 2691; C11: 2579; C12: 2575; C13: 2634; C14: 2632; D1: 57; D2: 2737; D3: 55; D4: 2563; D5: 54; D6: 2721; D7: 52; D8: 2622; D9: 52; D10: 2604; D11: 52; D12: 2600; D13: 49; D14: 2431; E1: 3068; E2: 3126; E3: 2851; E4: 2811; E5: 2876; E6: 2808; E7: 2733; E8: 2723; E9: 2821; E10: 2666; E11: 2696; E12: 2580; E13: 2693; E14: 2672; F1: 56; F2: 3092; F3: 52; F4: 2885; F5: 54; F6: 2830; F7: 52; F8: 2774; F9: 57; F10: 2704; F11: 53; F12: 2641; F13: 51; F14: 2530
17 | 1920.115 | 37 | C1: 3049; C2: 2941; C3: 2774; C4: 2799; C5: 2799; C6: 2761; C7: 2639; C8: 2734; C9: 2741; C10: 2760; C11: 2648; C12: 2632; C13: 2689; C14: 2703; D1: 59; D2: 2839; D3: 52; D4: 2624; D5: 54; D6: 2813; D7: 54; D8: 2687; D9: 52; D10: 2666; D11: 53; D12: 2655; D13: 50; D14: 2488; E1: 3223; E2: 3286; E3: 2965; E4: 2932; E5: 3000; E6: 2909; E7: 2823; E8: 2837; E9: 2941; E10: 2749; E11: 2791; E12: 2668; E13: 2783; E14: 2757; F1: 54; F2: 3231; F3: 53; F4: 2997; F5: 53; F6: 2923; F7: 54; F8: 2874; F9: 53; F10: 2787; F11: 55; F12: 2730; F13: 52; F14: 2597
18 | 2040.123 | 37 | C1: 3185; C2: 3041; C3: 2869; C4: 2869; C5: 2896; C6: 2838; C7: 2731; C8: 2807; C9: 2832; C10: 2834; C11: 2716; C12: 2713; C13: 2753; C14: 2759; D1: 59; D2: 2943; D3: 53; D4: 2699; D5: 52; D6: 2893; D7: 52; D8: 2757; D9: 52; D10: 2736; D11: 54; D12: 2711; D13: 50; D14: 2557; E1: 3412; E2: 3492; E3: 3097; E4: 3055; E5: 3113; E6: 3042; E7: 2939; E8: 2943; E9: 3058; E10: 2841; E11: 2876; E12: 2767; E13: 2886; E14: 2858; F1: 54; F2: 3399; F3: 53; F4: 3108; F5: 54; F6: 3042; F7: 54; F8: 2982; F9: 55; F10: 2862; F11: 53; F12: 2816; F13: 54; F14: 2685
19 | 2160.134 | 36.9 | C1: 3298; C2: 3144; C3: 2957; C4: 2982; C5: 2976; C6: 2934; C7: 2812; C8: 2885; C9: 2887; C10: 2925; C11: 2790; C12: 2784; C13: 2846; C14: 2845; D1: 57; D2: 3054; D3: 55; D4: 2779; D5: 54; D6: 2988; D7: 52; D8: 2832; D9: 52; D10: 2800; D11: 52; D12: 2783; D13: 53; D14: 2624; E1: 3592; E2: 3658; E3: 3209; E4: 3183; E5: 3249; E6: 3156; E7: 3040; E8: 3042; E9: 3170; E10: 2946; E11: 3003; E12: 2858; E13: 2990; E14: 2956; F1: 55; F2: 3608; F3: 52; F4: 3238; F5: 52; F6: 3159; F7: 54; F8: 3072; F9: 57; F10: 2967; F11: 53; F12: 2922; F13: 53; F14: 2761
20 | 2280.139 | 37 | C1: 3416; C2: 3258; C3: 3060; C4: 3077; C5: 3091; C6: 3002; C7: 2901; C8: 2980; C9: 2993; C10: 3002; C11: 2875; C12: 2872; C13: 2922; C14: 2914; D1: 57; D2: 3151; D3: 53; D4: 2864; D5: 55; D6: 3086; D7: 54; D8: 2909; D9: 51; D10: 2893; D11: 53; D12: 2847; D13: 49; D14: 2698; E1: 3798; E2: 3854; E3: 3373; E4: 3310; E5: 3354; E6: 3269; E7: 3147; E8: 3149; E9: 3305; E10: 3051; E11: 3084; E12: 2964; E13: 3062; E14: 3030; F1: 55; F2: 3791; F3: 51; F4: 3365; F5: 52; F6: 3271; F7: 52; F8: 3189; F9: 52; F10: 3073; F11: 53; F12: 3018; F13: 53; F14: 2863
21 | 2400.148 | 37 | C1: 3570; C2: 3398; C3: 3175; C4: 3175; C5: 3180; C6: 3091; C7: 2982; C8: 3052; C9: 3079; C10: 3094; C11: 2973; C12: 2945; C13: 2987; C14: 2971; D1: 57; D2: 3288; D3: 54; D4: 2949; D5: 52; D6: 3178; D7: 56; D8: 2992; D9: 53; D10: 2969; D11: 53; D12: 2934; D13: 49; D14: 2741; E1: 3995; E2: 4096; E3: 3526; E4: 3476; E5: 3493; E6: 3404; E7: 3267; E8: 3260; E9: 3429; E10: 3160; E11: 3181; E12: 3056; E13: 3175; E14: 3164; F1: 56; F2: 4009; F3: 53; F4: 3521; F5: 53; F6: 3406; F7: 56; F8: 3301; F9: 55; F10: 3168; F11: 54; F12: 3107; F13: 53; F14: 2931
22 | 2520.159 | 37 | C1: 3680; C2: 3492; C3: 3255; C4: 3230; C5: 3267; C6: 3195; C7: 3069; C8: 3150; C9: 3167; C10: 3161; C11: 3063; C12: 3028; C13: 3080; C14: 3056; D1: 56; D2: 3375; D3: 55; D4: 3047; D5: 53; D6: 3247; D7: 53; D8: 3073; D9: 51; D10: 3055; D11: 53; D12: 3013; D13: 52; D14: 2827; E1: 4209; E2: 4274; E3: 3663; E4: 3597; E5: 3641; E6: 3557; E7: 3365; E8: 3383; E9: 3553; E10: 3249; E11: 3303; E12: 3172; E13: 3266; E14: 3242; F1: 56; F2: 4234; F3: 51; F4: 3656; F5: 56; F6: 3514; F7: 54; F8: 3437; F9: 55; F10: 3287; F11: 54; F12: 3194; F13: 53; F14: 3029
23 | 2640.169 | 37 | C1: 3838; C2: 3625; C3: 3355; C4: 3344; C5: 3359; C6: 3281; C7: 3159; C8: 3231; C9: 3245; C10: 3242; C11: 3126; C12: 3087; C13: 3157; C14: 3137; D1: 60; D2: 3482; D3: 55; D4: 3123; D5: 54; D6: 3358; D7: 52; D8: 3142; D9: 51; D10: 3132; D11: 52; D12: 3078; D13: 51; D14: 2876; E1: 4452; E2: 4502; E3: 3794; E4: 3755; E5: 3753; E6: 3662; E7: 3494; E8: 3483; E9: 3684; E10: 3373; E11: 3407; E12: 3274; E13: 3371; E14: 3364; F1: 57; F2: 4432; F3: 53; F4: 3797; F5: 52; F6: 3623; F7: 54; F8: 3531; F9: 56; F10: 3376; F11: 53; F12: 3307; F13: 52; F14: 3115
24 | 2760.176 | 37 | C1: 3962; C2: 3721; C3: 3446; C4: 3443; C5: 3462; C6: 3362; C7: 3236; C8: 3303; C9: 3329; C10: 3340; C11: 3219; C12: 3162; C13: 3251; C14: 3222; D1: 58; D2: 3632; D3: 53; D4: 3214; D5: 53; D6: 3451; D7: 51; D8: 3222; D9: 52; D10: 3221; D11: 52; D12: 3169; D13: 49; D14: 2982; E1: 4657; E2: 4746; E3: 3947; E4: 3914; E5: 3902; E6: 3815; E7: 3602; E8: 3611; E9: 3819; E10: 3491; E11: 3534; E12: 3379; E13: 3490; E14: 3469; F1: 55; F2: 4652; F3: 52; F4: 3935; F5: 54; F6: 3749; F7: 57; F8: 3656; F9: 54; F10: 3467; F11: 55; F12: 3395; F13: 53; F14: 3208
25 | 2880.182 | 37 | C1: 4102; C2: 3867; C3: 3569; C4: 3535; C5: 3555; C6: 3462; C7: 3322; C8: 3375; C9: 3421; C10: 3429; C11: 3300; C12: 3253; C13: 3319; C14: 3290; D1: 59; D2: 3748; D3: 55; D4: 3309; D5: 52; D6: 3547; D7: 54; D8: 3304; D9: 53; D10: 3284; D11: 52; D12: 3239; D13: 50; D14: 3020; E1: 4899; E2: 4964; E3: 4114; E4: 4067; E5: 4061; E6: 3959; E7: 3703; E8: 3731; E9: 3948; E10: 3575; E11: 3619; E12: 3480; E13: 3589; E14: 3569; F1: 54; F2: 4906; F3: 52; F4: 4101; F5: 52; F6: 3880; F7: 53; F8: 3791; F9: 54; F10: 3584; F11: 54; F12: 3517; F13: 52; F14: 3310
26 | 3000.193 | 36.9 | C1: 4260; C2: 3989; C3: 3646; C4: 3630; C5: 3651; C6: 3548; C7: 3408; C8: 3479; C9: 3509; C10: 3528; C11: 3379; C12: 3344; C13: 3426; C14: 3375; D1: 58; D2: 3874; D3: 55; D4: 3380; D5: 54; D6: 3646; D7: 50; D8: 3396; D9: 51; D10: 3381; D11: 51; D12: 3317; D13: 50; D14: 3106; E1: 5133; E2: 5215; E3: 4287; E4: 4222; E5: 4204; E6: 4071; E7: 3849; E8: 3861; E9: 4092; E10: 3707; E11: 3747; E12: 3602; E13: 3698; E14: 3696; F1: 56; F2: 5145; F3: 53; F4: 4257; F5: 54; F6: 4037; F7: 56; F8: 3904; F9: 57; F10: 3691; F11: 55; F12: 3646; F13: 53; F14: 3396
27 | 3120.199 | 37 | C1: 4390; C2: 4121; C3: 3767; C4: 3752; C5: 3784; C6: 3673; C7: 3513; C8: 3574; C9: 3618; C10: 3619; C11: 3472; C12: 3437; C13: 3499; C14: 3460; D1: 57; D2: 3990; D3: 53; D4: 3484; D5: 54; D6: 3744; D7: 53; D8: 3475; D9: 53; D10: 3457; D11: 53; D12: 3394; D13: 52; D14: 3173; E1: 5390; E2: 5483; E3: 4454; E4: 4405; E5: 4364; E6: 4256; E7: 3967; E8: 3993; E9: 4257; E10: 3842; E11: 3858; E12: 3713; E13: 3832; E14: 3794; F1: 56; F2: 5403; F3: 53; F4: 4414; F5: 54; F6: 4166; F7: 55; F8: 4040; F9: 55; F10: 3822; F11: 53; F12: 3740; F13: 52; F14: 3514
28 | 3240.212 | 37 | C1: 4546; C2: 4285; C3: 3878; C4: 3840; C5: 3875; C6: 3762; C7: 3586; C8: 3662; C9: 3723; C10: 3727; C11: 3570; C12: 3516; C13: 3598; C14: 3548; D1: 57; D2: 4138; D3: 51; D4: 3583; D5: 53; D6: 3845; D7: 53; D8: 3567; D9: 52; D10: 3554; D11: 53; D12: 3476; D13: 51; D14: 3267; E1: 5658; E2: 5734; E3: 4611; E4: 4557; E5: 4505; E6: 4388; E7: 4093; E8: 4081; E9: 4369; E10: 3954; E11: 3974; E12: 3814; E13: 3949; E14: 3915; F1: 56; F2: 5679; F3: 54; F4: 4591; F5: 54; F6: 4299; F7: 56; F8: 4172; F9: 55; F10: 3922; F11: 53; F12: 3847; F13: 54; F14: 3587
29 | 3360.237 | 37 | C1: 4695; C2: 4410; C3: 3967; C4: 3949; C5: 3982; C6: 3869; C7: 3692; C8: 3741; C9: 3809; C10: 3826; C11: 3675; C12: 3606; C13: 3692; C14: 3620; D1: 57; D2: 4296; D3: 54; D4: 3676; D5: 54; D6: 3967; D7: 51; D8: 3656; D9: 54; D10: 3647; D11: 54; D12: 3552; D13: 51; D14: 3329; E1: 5916; E2: 6013; E3: 4806; E4: 4737; E5: 4660; E6: 4544; E7: 4224; E8: 4230; E9: 4523; E10: 4082; E11: 4105; E12: 3938; E13: 4062; E14: 4034; F1: 56; F2: 5941; F3: 51; F4: 4770; F5: 54; F6: 4448; F7: 55; F8: 4286; F9: 56; F10: 4040; F11: 55; F12: 3960; F13: 55; F14: 3696
30 | 3480.242 | 37 | C1: 4821; C2: 4553; C3: 4082; C4: 4059; C5: 4094; C6: 3951; C7: 3789; C8: 3835; C9: 3893; C10: 3923; C11: 3757; C12: 3688; C13: 3760; C14: 3716; D1: 59; D2: 4412; D3: 54; D4: 3779; D5: 54; D6: 4051; D7: 54; D8: 3730; D9: 53; D10: 3721; D11: 51; D12: 3639; D13: 51; D14: 3415; E1: 6139; E2: 6245; E3: 4957; E4: 4903; E5: 4820; E6: 4693; E7: 4349; E8: 4376; E9: 4667; E10: 4192; E11: 4224; E12: 4057; E13: 4152; E14: 4130; F1: 58; F2: 6186; F3: 51; F4: 4945; F5: 55; F6: 4607; F7: 54; F8: 4425; F9: 55; F10: 4130; F11: 55; F12: 4072; F13: 53; F14: 3805
31 | 3600.257 | 37 | C1: 4995; C2: 4688; C3: 4211; C4: 4186; C5: 4219; C6: 4070; C7: 3887; C8: 3944; C9: 4019; C10: 4003; C11: 3839; C12: 3778; C13: 3853; C14: 3798; D1: 56; D2: 4555; D3: 54; D4: 3874; D5: 55; D6: 4151; D7: 52; D8: 3835; D9: 53; D10: 3806; D11: 51; D12: 3727; D13: 52; D14: 3481; E1: 6392; E2: 6520; E3: 5117; E4: 5076; E5: 4962; E6: 4840; E7: 4468; E8: 4477; E9: 4811; E10: 4288; E11: 4323; E12: 4148; E13: 4291; E14: 4226; F1: 57; F2: 6486; F3: 53; F4: 5125; F5: 53; F6: 4736; F7: 56; F8: 4548; F9: 56; F10: 4260; F11: 56; F12: 4184; F13: 52; F14: 3907
32 | 3720.263 | 37 | C1: 5143; C2: 4807; C3: 4307; C4: 4276; C5: 4325; C6: 4180; C7: 3983; C8: 4031; C9: 4082; C10: 4091; C11: 3943; C12: 3873; C13: 3919; C14: 3864; D1: 59; D2: 4682; D3: 55; D4: 3955; D5: 53; D6: 4249; D7: 53; D8: 3913; D9: 53; D10: 3909; D11: 53; D12: 3816; D13: 51; D14: 3563; E1: 6690; E2: 6807; E3: 5290; E4: 5276; E5: 5121; E6: 4983; E7: 4604; E8: 4620; E9: 4951; E10: 4438; E11: 4445; E12: 4286; E13: 4430; E14: 4359; F1: 56; F2: 6797; F3: 52; F4: 5302; F5: 55; F6: 4914; F7: 55; F8: 4700; F9: 58; F10: 4378; F11: 54; F12: 4286; F13: 53; F14: 4030
33 | 3840.276 | 37 | C1: 5292; C2: 4951; C3: 4394; C4: 4372; C5: 4386; C6: 4248; C7: 4081; C8: 4099; C9: 4190; C10: 4189; C11: 4025; C12: 3957; C13: 4022; C14: 3955; D1: 56; D2: 4817; D3: 52; D4: 4072; D5: 55; D6: 4358; D7: 53; D8: 4012; D9: 54; D10: 3999; D11: 52; D12: 3897; D13: 52; D14: 3638; E1: 6944; E2: 7100; E3: 5517; E4: 5472; E5: 5298; E6: 5142; E7: 4761; E8: 4775; E9: 5129; E10: 4536; E11: 4568; E12: 4406; E13: 4522; E14: 4481; F1: 57; F2: 7052; F3: 53; F4: 5486; F5: 54; F6: 5032; F7: 56; F8: 4846; F9: 57; F10: 4492; F11: 56; F12: 4400; F13: 53; F14: 4092
34 | 3960.283 | 37 | C1: 5446; C2: 5095; C3: 4516; C4: 4485; C5: 4507; C6: 4354; C7: 4185; C8: 4192; C9: 4283; C10: 4278; C11: 4120; C12: 4016; C13: 4098; C14: 4025; D1: 57; D2: 4949; D3: 54; D4: 4156; D5: 54; D6: 4497; D7: 55; D8: 4096; D9: 54; D10: 4093; D11: 52; D12: 3968; D13: 52; D14: 3709; E1: 7248; E2: 7389; E3: 5682; E4: 5618; E5: 5445; E6: 5295; E7: 4877; E8: 4885; E9: 5250; E10: 4669; E11: 4705; E12: 4529; E13: 4647; E14: 4606; F1: 55; F2: 7300; F3: 54; F4: 5657; F5: 53; F6: 5185; F7: 55; F8: 4971; F9: 56; F10: 4597; F11: 53; F12: 4544; F13: 54; F14: 4197
35 | 4080.285 | 37 | C1: 5610; C2: 5237; C3: 4620; C4: 4565; C5: 4603; C6: 4466; C7: 4268; C8: 4308; C9: 4367; C10: 4379; C11: 4215; C12: 4124; C13: 4183; C14: 4094; D1: 58; D2: 5112; D3: 54; D4: 4260; D5: 55; D6: 4583; D7: 53; D8: 4198; D9: 52; D10: 4162; D11: 54; D12: 4055; D13: 52; D14: 3797; E1: 7500; E2: 7653; E3: 5869; E4: 5830; E5: 5596; E6: 5476; E7: 5012; E8: 5018; E9: 5420; E10: 4789; E11: 4814; E12: 4622; E13: 4755; E14: 4692; F1: 56; F2: 7595; F3: 54; F4: 5828; F5: 53; F6: 5359; F7: 57; F8: 5139; F9: 56; F10: 4746; F11: 56; F12: 4644; F13: 52; F14: 4304
36 | 4200.289 | 37 | C1: 5770; C2: 5373; C3: 4748; C4: 4702; C5: 4740; C6: 4567; C7: 4371; C8: 4399; C9: 4499; C10: 4480; C11: 4288; C12: 4204; C13: 4268; C14: 4194; D1: 59; D2: 5248; D3: 56; D4: 4334; D5: 58; D6: 4688; D7: 52; D8: 4274; D9: 54; D10: 4276; D11: 54; D12: 4138; D13: 53; D14: 3861; E1: 7782; E2: 7926; E3: 6038; E4: 6010; E5: 5780; E6: 5632; E7: 5152; E8: 5152; E9: 5577; E10: 4926; E11: 4956; E12: 4751; E13: 4870; E14: 4806; F1: 56; F2: 7912; F3: 54; F4: 6049; F5: 56; F6: 5472; F7: 57; F8: 5245; F9: 56; F10: 4855; F11: 55; F12: 4732; F13: 54; F14: 4415
37 | 4320.298 | 36.9 | C1: 5911; C2: 5507; C3: 4855; C4: 4785; C5: 4843; C6: 4655; C7: 4464; C8: 4483; C9: 4571; C10: 4575; C11: 4416; C12: 4289; C13: 4370; C14: 4255; D1: 59; D2: 5404; D3: 56; D4: 4443; D5: 55; D6: 4796; D7: 54; D8: 4369; D9: 54; D10: 4371; D11: 53; D12: 4214; D13: 54; D14: 3968; E1: 8063; E2: 8248; E3: 6229; E4: 6185; E5: 5953; E6: 5799; E7: 5291; E8: 5288; E9: 5720; E10: 5046; E11: 5067; E12: 4882; E13: 5004; E14: 4968; F1: 57; F2: 8179; F3: 55; F4: 6235; F5: 54; F6: 5694; F7: 56; F8: 5386; F9: 56; F10: 4970; F11: 55; F12: 4881; F13: 54; F14: 4533
38 | 4440.31 | 37 | C1: 6065; C2: 5642; C3: 4962; C4: 4915; C5: 4959; C6: 4773; C7: 4577; C8: 4568; C9: 4672; C10: 4682; C11: 4477; C12: 4390; C13: 4470; C14: 4362; D1: 58; D2: 5548; D3: 55; D4: 4572; D5: 56; D6: 4918; D7: 57; D8: 4456; D9: 55; D10: 4434; D11: 54; D12: 4310; D13: 52; D14: 4006; E1: 8329; E2: 8510; E3: 6427; E4: 6391; E5: 6115; E6: 5939; E7: 5412; E8: 5431; E9: 5857; E10: 5189; E11: 5191; E12: 5002; E13: 5136; E14: 5074; F1: 57; F2: 8487; F3: 54; F4: 6408; F5: 55; F6: 5808; F7: 55; F8: 5512; F9: 57; F10: 5073; F11: 52; F12: 4987; F13: 55; F14: 4609
39 | 4560.32 | 37 | C1: 6231; C2: 5824; C3: 5073; C4: 5023; C5: 5074; C6: 4871; C7: 4651; C8: 4672; C9: 4790; C10: 4769; C11: 4585; C12: 4461; C13: 4548; C14: 4453; D1: 59; D2: 5674; D3: 55; D4: 4660; D5: 55; D6: 5018; D7: 55; D8: 4553; D9: 54; D10: 4534; D11: 54; D12: 4399; D13: 53; D14: 4090; E1: 8568; E2: 8762; E3: 6611; E4: 6561; E5: 6282; E6: 6111; E7: 5558; E8: 5569; E9: 6020; E10: 5287; E11: 5305; E12: 5106; E13: 5225; E14: 5202; F1: 58; F2: 8793; F3: 54; F4: 6598; F5: 54; F6: 5976; F7: 55; F8: 5640; F9: 55; F10: 5187; F11: 55; F12: 5097; F13: 53; F14: 4727
40 | 4680.326 | 37 | C1: 6382; C2: 5984; C3: 5196; C4: 5129; C5: 5182; C6: 4972; C7: 4760; C8: 4786; C9: 4878; C10: 4876; C11: 4691; C12: 4570; C13: 4652; C14: 4533; D1: 58; D2: 5850; D3: 57; D4: 4759; D5: 55; D6: 5149; D7: 54; D8: 4639; D9: 54; D10: 4614; D11: 53; D12: 4460; D13: 53; D14: 4179; E1: 8883; E2: 9065; E3: 6799; E4: 6743; E5: 6429; E6: 6294; E7: 5675; E8: 5717; E9: 6167; E10: 5415; E11: 5434; E12: 5245; E13: 5370; E14: 5328; F1: 57; F2: 9077; F3: 53; F4: 6770; F5: 54; F6: 6122; F7: 57; F8: 5825; F9: 58; F10: 5324; F11: 56; F12: 5204; F13: 54; F14: 4858
41 | 4800.337 | 37 | C1: 6565; C2: 6093; C3: 5299; C4: 5218; C5: 5293; C6: 5034; C7: 4839; C8: 4876; C9: 4975; C10: 4952; C11: 4783; C12: 4636; C13: 4717; C14: 4581; D1: 60; D2: 5999; D3: 57; D4: 4860; D5: 53; D6: 5249; D7: 55; D8: 4730; D9: 52; D10: 4730; D11: 53; D12: 4565; D13: 53; D14: 4250; E1: 9140; E2: 9368; E3: 6987; E4: 6965; E5: 6607; E6: 6467; E7: 5808; E8: 5835; E9: 6325; E10: 5548; E11: 5548; E12: 5340; E13: 5485; E14: 5428; F1: 56; F2: 9359; F3: 56; F4: 6975; F5: 55; F6: 6290; F7: 57; F8: 5944; F9: 57; F10: 5411; F11: 56; F12: 5345; F13: 54; F14: 4951
42 | 4920.339 | 37 | C1: 6744; C2: 6220; C3: 5383; C4: 5330; C5: 5414; C6: 5167; C7: 4950; C8: 4946; C9: 5058; C10: 5037; C11: 4885; C12: 4740; C13: 4798; C14: 4668; D1: 58; D2: 6103; D3: 58; D4: 4950; D5: 54; D6: 5321; D7: 51; D8: 4811; D9: 53; D10: 4796; D11: 55; D12: 4625; D13: 52; D14: 4324; E1: 9419; E2: 9618; E3: 7155; E4: 7104; E5: 6735; E6: 6565; E7: 5931; E8: 5967; E9: 6468; E10: 5653; E11: 5678; E12: 5457; E13: 5583; E14: 5580; F1: 57; F2: 9676; F3: 53; F4: 7175; F5: 54; F6: 6442; F7: 57; F8: 6090; F9: 59; F10: 5539; F11: 56; F12: 5440; F13: 55; F14: 5021
43 | 5040.347 | 36.9 | C1: 6870; C2: 6381; C3: 5503; C4: 5454; C5: 5488; C6: 5268; C7: 5045; C8: 5044; C9: 5156; C10: 5151; C11: 4964; C12: 4794; C13: 4901; C14: 4756; D1: 60; D2: 6272; D3: 56; D4: 5046; D5: 54; D6: 5438; D7: 52; D8: 4901; D9: 52; D10: 4905; D11: 55; D12: 4736; D13: 53; D14: 4398; E1: 9670; E2: 9906; E3: 7326; E4: 7299; E5: 6923; E6: 6740; E7: 6047; E8: 6098; E9: 6585; E10: 5775; E11: 5814; E12: 5565; E13: 5692; E14: 5649; F1: 57; F2: 9907; F3: 55; F4: 7368; F5: 56; F6: 6616; F7: 55; F8: 6225; F9: 56; F10: 5665; F11: 55; F12: 5563; F13: 56; F14: 5125
44 | 5160.359 | 37 | C1: 7047; C2: 6523; C3: 5626; C4: 5556; C5: 5575; C6: 5363; C7: 5127; C8: 5135; C9: 5262; C10: 5240; C11: 5067; C12: 4886; C13: 4991; C14: 4832; D1: 59; D2: 6439; D3: 56; D4: 5134; D5: 58; D6: 5546; D7: 55; D8: 5005; D9: 53; D10: 4991; D11: 55; D12: 4814; D13: 53; D14: 4487; E1: 9917; E2: 10179; E3: 7524; E4: 7475; E5: 7095; E6: 6889; E7: 6182; E8: 6226; E9: 6762; E10: 5904; E11: 5918; E12: 5700; E13: 5806; E14: 5776; F1: 57; F2: 10198; F3: 55; F4: 7539; F5: 54; F6: 6732; F7: 56; F8: 6345; F9: 57; F10: 5760; F11: 54; F12: 5640; F13: 53; F14: 5246
45 | 5280.373 | 37 | C1: 7182; C2: 6661; C3: 5735; C4: 5674; C5: 5701; C6: 5466; C7: 5242; C8: 5242; C9: 5351; C10: 5323; C11: 5151; C12: 4957; C13: 5062; C14: 4921; D1: 59; D2: 6573; D3: 55; D4: 5240; D5: 56; D6: 5651; D7: 54; D8: 5073; D9: 53; D10: 5072; D11: 55; D12: 4906; D13: 52; D14: 4569; E1: 10190; E2: 10447; E3: 7689; E4: 7682; E5: 7241; E6: 7065; E7: 6313; E8: 6350; E9: 6898; E10: 6020; E11: 6031; E12: 5826; E13: 5927; E14: 5899; F1: 59; F2: 10482; F3: 55; F4: 7706; F5: 55; F6: 6895; F7: 56; F8: 6494; F9: 56; F10: 5891; F11: 57; F12: 5764; F13: 56; F14: 5324
46 | 5400.378 | 37 | C1: 7344; C2: 6792; C3: 5847; C4: 5781; C5: 5800; C6: 5562; C7: 5323; C8: 5307; C9: 5449; C10: 5441; C11: 5237; C12: 5044; C13: 5162; C14: 5011; D1: 58; D2: 6680; D3: 55; D4: 5343; D5: 57; D6: 5779; D7: 54; D8: 5168; D9: 54; D10: 5156; D11: 53; D12: 4968; D13: 53; D14: 4612; E1: 10413; E2: 10713; E3: 7894; E4: 7846; E5: 7397; E6: 7213; E7: 6460; E8: 6461; E9: 7032; E10: 6117; E11: 6169; E12: 5932; E13: 6066; E14: 6019; F1: 58; F2: 10735; F3: 54; F4: 7929; F5: 56; F6: 7044; F7: 55; F8: 6614; F9: 58; F10: 5990; F11: 56; F12: 5891; F13: 56; F14: 5415
47 | 5520.387 | 37 | C1: 7487; C2: 6948; C3: 5938; C4: 5873; C5: 5920; C6: 5664; C7: 5418; C8: 5413; C9: 5548; C10: 5534; C11: 5337; C12: 5110; C13: 5255; C14: 5064; D1: 59; D2: 6834; D3: 55; D4: 5426; D5: 56; D6: 5849; D7: 55; D8: 5249; D9: 54; D10: 5232; D11: 54; D12: 5049; D13: 53; D14: 4734; E1: 10732; E2: 10984; E3: 8057; E4: 8045; E5: 7546; E6: 7373; E7: 6590; E8: 6609; E9: 7178; E10: 6247; E11: 6250; E12: 6030; E13: 6166; E14: 6124; F1: 58; F2: 11004; F3: 54; F4: 8076; F5: 55; F6: 7200; F7: 57; F8: 6745; F9: 57; F10: 6105; F11: 54; F12: 6005; F13: 53; F14: 5516
48 | 5640.4 | 36.9 | C1: 7666; C2: 7129; C3: 6060; C4: 5995; C5: 6028; C6: 5792; C7: 5541; C8: 5516; C9: 5639; C10: 5620; C11: 5405; C12: 5242; C13: 5342; C14: 5155; D1: 61; D2: 6992; D3: 56; D4: 5552; D5: 55; D6: 5983; D7: 56; D8: 5335; D9: 54; D10: 5326; D11: 55; D12: 5133; D13: 51; D14: 4809; E1: 10957; E2: 11242; E3: 8241; E4: 8241; E5: 7707; E6: 7540; E7: 6715; E8: 6739; E9: 7339; E10: 6343; E11: 6382; E12: 6162; E13: 6270; E14: 6245; F1: 57; F2: 11313; F3: 56; F4: 8285; F5: 55; F6: 7364; F7: 57; F8: 6875; F9: 58; F10: 6199; F11: 57; F12: 6091; F13: 55; F14: 5617
49 | 5760.403 | 36.9 | C1: 7801; C2: 7247; C3: 6174; C4: 6105; C5: 6139; C6: 5870; C7: 5642; C8: 5614; C9: 5716; C10: 5724; C11: 5517; C12: 5307; C13: 5433; C14: 5249; D1: 59; D2: 7130; D3: 55; D4: 5633; D5: 58; D6: 6081; D7: 54; D8: 5431; D9: 55; D10: 5414; D11: 54; D12: 5225; D13: 53; D14: 4865; E1: 11221; E2: 11509; E3: 8436; E4: 8425; E5: 7882; E6: 7654; E7: 6832; E8: 6870; E9: 7474; E10: 6463; E11: 6502; E12: 6255; E13: 6394; E14: 6355; F1: 56; F2: 11557; F3: 56; F4: 8441; F5: 56; F6: 7519; F7: 57; F8: 7027; F9: 58; F10: 6303; F11: 58; F12: 6207; F13: 53; F14: 5750
50 | 5880.407 | 37 | C1: 7927; C2: 7392; C3: 6269; C4: 6196; C5: 6230; C6: 5939; C7: 5732; C8: 5680; C9: 5826; C10: 5820; C11: 5624; C12: 5398; C13: 5516; C14: 5317; D1: 60; D2: 7288; D3: 58; D4: 5719; D5: 54; D6: 6181; D7: 56; D8: 5520; D9: 55; D10: 5491; D11: 54; D12: 5303; D13: 52; D14: 4946; E1: 11420; E2: 11711; E3: 8589; E4: 8590; E5: 8038; E6: 7854; E7: 6972; E8: 6978; E9: 7623; E10: 6587; E11: 6600; E12: 6390; E13: 6492; E14: 6469; F1: 58; F2: 11833; F3: 54; F4: 8626; F5: 56; F6: 7664; F7: 54; F8: 7169; F9: 58; F10: 6414; F11: 55; F12: 6342; F13: 55; F14: 5798
51 | 6000.422 | 37 | C1: 8091; C2: 7519; C3: 6366; C4: 6307; C5: 6359; C6: 6062; C7: 5810; C8: 5766; C9: 5911; C10: 5907; C11: 5679; C12: 5480; C13: 5596; C14: 5379; D1: 61; D2: 7429; D3: 55; D4: 5848; D5: 57; D6: 6285; D7: 54; D8: 5613; D9: 56; D10: 5568; D11: 53; D12: 5367; D13: 53; D14: 5013; E1: 11668; E2: 11992; E3: 8781; E4: 8767; E5: 8188; E6: 7986; E7: 7082; E8: 7120; E9: 7739; E10: 6707; E11: 6725; E12: 6493; E13: 6640; E14: 6577; F1: 58; F2: 12076; F3: 55; F4: 8831; F5: 55; F6: 7797; F7: 55; F8: 7284; F9: 58; F10: 6535; F11: 55; F12: 6453; F13: 56; F14: 5912
52 | 6120.427 | 37 | C1: 8228; C2: 7648; C3: 6471; C4: 6388; C5: 6424; C6: 6134; C7: 5874; C8: 5845; C9: 5995; C10: 5956; C11: 5792; C12: 5563; C13: 5663; C14: 5449; D1: 59; D2: 7565; D3: 55; D4: 5933; D5: 58; D6: 6385; D7: 56; D8: 5682; D9: 54; D10: 5664; D11: 53; D12: 5453; D13: 54; D14: 5100; E1: 11905; E2: 12246; E3: 8933; E4: 8901; E5: 8328; E6: 8128; E7: 7195; E8: 7228; E9: 7908; E10: 6822; E11: 6822; E12: 6612; E13: 6726; E14: 6679; F1: 58; F2: 12368; F3: 54; F4: 9015; F5: 54; F6: 7945; F7: 56; F8: 7417; F9: 58; F10: 6639; F11: 56; F12: 6558; F13: 55; F14: 6059
53 | 6240.44 | 37 | C1: 8369; C2: 7777; C3: 6585; C4: 6492; C5: 6525; C6: 6255; C7: 5973; C8: 5925; C9: 6109; C10: 6053; C11: 5863; C12: 5635; C13: 5747; C14: 5549; D1: 59; D2: 7728; D3: 55; D4: 6011; D5: 56; D6: 6478; D7: 55; D8: 5760; D9: 56; D10: 5757; D11: 56; D12: 5549; D13: 53; D14: 5185; E1: 12187; E2: 12425; E3: 9102; E4: 9101; E5: 8433; E6: 8272; E7: 7334; E8: 7338; E9: 8008; E10: 6957; E11: 6951; E12: 6715; E13: 6828; E14: 6781; F1: 56; F2: 12525; F3: 55; F4: 9222; F5: 57; F6: 8098; F7: 55; F8: 7513; F9: 55; F10: 6785; F11: 57; F12: 6656; F13: 55; F14: 6119
54 | 6360.447 | 36.9 | C1: 8512; C2: 7899; C3: 6677; C4: 6609; C5: 6624; C6: 6325; C7: 6061; C8: 6040; C9: 6182; C10: 6141; C11: 5951; C12: 5682; C13: 5831; C14: 5617; D1: 60; D2: 7845; D3: 56; D4: 6114; D5: 56; D6: 6589; D7: 56; D8: 5862; D9: 54; D10: 5835; D11: 54; D12: 5624; D13: 51; D14: 5241; E1: 12351; E2: 12680; E3: 9282; E4: 9267; E5: 8594; E6: 8417; E7: 7447; E8: 7455; E9: 8131; E10: 7056; E11: 7059; E12: 6817; E13: 6948; E14: 6894; F1: 58; F2: 12791; F3: 54; F4: 9361; F5: 57; F6: 8270; F7: 57; F8: 7666; F9: 60; F10: 6866; F11: 57; F12: 6755; F13: 54; F14: 6217
55 | 6480.455 | 37 | C1: 8678; C2: 8044; C3: 6775; C4: 6684; C5: 6724; C6: 6426; C7: 6148; C8: 6122; C9: 6260; C10: 6237; C11: 6052; C12: 5782; C13: 5910; C14: 5675; D1: 60; D2: 7963; D3: 58; D4: 6199; D5: 55; D6: 6692; D7: 56; D8: 5923; D9: 54; D10: 5924; D11: 55; D12: 5695; D13: 52; D14: 5317; E1: 12578; E2: 12927; E3: 9438; E4: 9417; E5: 8760; E6: 8572; E7: 7552; E8: 7587; E9: 8266; E10: 7137; E11: 7157; E12: 6913; E13: 7032; E14: 6994; F1: 58; F2: 13026; F3: 54; F4: 9497; F5: 56; F6: 8388; F7: 57; F8: 7788; F9: 55; F10: 6972; F11: 55; F12: 6852; F13: 56; F14: 6290
56 | 6600.46 | 37 | C1: 8820; C2: 8180; C3: 6902; C4: 6808; C5: 6820; C6: 6511; C7: 6255; C8: 6211; C9: 6370; C10: 6340; C11: 6132; C12: 5849; C13: 5996; C14: 5749; D1: 62; D2: 8115; D3: 57; D4: 6312; D5: 56; D6: 6778; D7: 53; D8: 6013; D9: 56; D10: 6006; D11: 54; D12: 5778; D13: 54; D14: 5390; E1: 12772; E2: 13128; E3: 9571; E4: 9589; E5: 8889; E6: 8708; E7: 7683; E8: 7699; E9: 8371; E10: 7248; E11: 7254; E12: 7057; E13: 7147; E14: 7107; F1: 57; F2: 13269; F3: 56; F4: 9673; F5: 57; F6: 8532; F7: 57; F8: 7897; F9: 58; F10: 7057; F11: 55; F12: 6981; F13: 54; F14: 6416
57 | 6720.468 | 37 | C1: 8981; C2: 8346; C3: 7012; C4: 6921; C5: 6915; C6: 6626; C7: 6365; C8: 6305; C9: 6478; C10: 6445; C11: 6238; C12: 5947; C13: 6101; C14: 5837; D1: 60; D2: 8274; D3: 56; D4: 6410; D5: 58; D6: 6902; D7: 54; D8: 6093; D9: 55; D10: 6068; D11: 55; D12: 5860; D13: 53; D14: 5478; E1: 13003; E2: 13336; E3: 9768; E4: 9755; E5: 9036; E6: 8851; E7: 7765; E8: 7832; E9: 8518; E10: 7338; E11: 7359; E12: 7139; E13: 7258; E14: 7189; F1: 59; F2: 13533; F3: 55; F4: 9859; F5: 55; F6: 8673; F7: 56; F8: 8041; F9: 59; F10: 7173; F11: 56; F12: 7081; F13: 55; F14: 6513
58 | 6840.483 | 37 | C1: 9114; C2: 8451; C3: 7120; C4: 7018; C5: 7029; C6: 6704; C7: 6437; C8: 6399; C9: 6548; C10: 6514; C11: 6316; C12: 6008; C13: 6171; C14: 5900; D1: 60; D2: 8416; D3: 56; D4: 6489; D5: 57; D6: 6985; D7: 55; D8: 6182; D9: 55; D10: 6181; D11: 54; D12: 5940; D13: 53; D14: 5537; E1: 13176; E2: 13543; E3: 9951; E4: 9956; E5: 9232; E6: 9025; E7: 7921; E8: 7945; E9: 8659; E10: 7467; E11: 7499; E12: 7261; E13: 7368; E14: 7312; F1: 57; F2: 13733; F3: 54; F4: 10022; F5: 55; F6: 8818; F7: 56; F8: 8139; F9: 57; F10: 7246; F11: 55; F12: 7172; F13: 55; F14: 6559
59 | 6960.49 | 37 | C1: 9262; C2: 8584; C3: 7202; C4: 7116; C5: 7124; C6: 6815; C7: 6544; C8: 6470; C9: 6654; C10: 6616; C11: 6397; C12: 6094; C13: 6276; C14: 6003; D1: 60; D2: 8566; D3: 58; D4: 6575; D5: 56; D6: 7086; D7: 55; D8: 6273; D9: 53; D10: 6259; D11: 54; D12: 5998; D13: 52; D14: 5611; E1: 13437; E2: 13823; E3: 10131; E4: 10106; E5: 9353; E6: 9149; E7: 8029; E8: 8082; E9: 8793; E10: 7607; E11: 7582; E12: 7403; E13: 7488; E14: 7424; F1: 58; F2: 13970; F3: 53; F4: 10222; F5: 57; F6: 8968; F7: 58; F8: 8294; F9: 56; F10: 7382; F11: 56; F12: 7287; F13: 55; F14: 6726
60 | 7080.479 | 36.9 | C1: 9384; C2: 8753; C3: 7315; C4: 7228; C5: 7209; C6: 6889; C7: 6617; C8: 6567; C9: 6707; C10: 6717; C11: 6507; C12: 6179; C13: 6311; C14: 6056; D1: 60; D2: 8725; D3: 56; D4: 6693; D5: 57; D6: 7229; D7: 57; D8: 6353; D9: 54; D10: 6327; D11: 55; D12: 6098; D13: 53; D14: 5697; E1: 13593; E2: 13996; E3: 10307; E4: 10285; E5: 9481; E6: 9298; E7: 8189; E8: 8224; E9: 8936; E10: 7711; E11: 7723; E12: 7489; E13: 7566; E14: 7515; F1: 59; F2: 14219; F3: 54; F4: 10418; F5: 55; F6: 9097; F7: 57; F8: 8427; F9: 56; F10: 7471; F11: 58; F12: 7405; F13: 56; F14: 6747
findit_3_55
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | A13 | A14 | A15 | A16 | A17 | A18 | A19 | A20 | A21 | A22 | A23 | A24 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | B13 | B14 | B15 | B16 | B17 | B18 | B19 | B20 | B21 | B22 | B23 | B24 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | C13 | C14 | C15 | C16 | C17 | C18 | C19 | C20 | C21 | C22 | C23 | C24 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | D13 | D14 | D15 | D16 | D17 | D18 | D19 | D20 | D21 | D22 | D23 | D24 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | E13 | E14 | E15 | E16 | E17 | E18 | E19 | E20 | E21 | E22 | E23 | E24 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | F13 | F14 | F15 | F16 | F17 | F18 | F19 | F20 | F21 | F22 | F23 | F24 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | G13 | G14 | G15 | G16 | G17 | G18 | G19 | G20 | G21 | G22 | G23 | G24 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12 | H13 | H14 | H15 | H16 | H17 | H18 | H19 | H20 | H21 | H22 | H23 | H24 | I1 | I2 | I3 | I4 | I5 | I6 | I7 | I8 | I9 | I10 | I11 | I12 | I13 | I14 | I15 | I16 | I17 | I18 | I19 | I20 | I21 | I22 | I23 | I24 | J1 | J2 | J3 | J4 | J5 | J6 | J7 | J8 | J9 | J10 | J11 | J12 | J13 | J14 | J15 | J16 | J17 | J18 | J19 | J20 | J21 | J22 | J23 | J24 | K1 | K2 | K3 | K4 | K5 | K6 | K7 | K8 | K9 | K10 | K11 | K12 | K13 | K14 | K15 | K16 | K17 | K18 | K19 | K20 | K21 | K22 | K23 | K24 | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | L9 | L10 | L11 | L12 | L13 | L14 | L15 | L16 | L17 | L18 | L19 | L20 | L21 | L22 | L23 | L24 | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | M10 | M11 | M12 | M13 | M14 | M15 | M16 | M17 | M18 | M19 | M20 | M21 | M22 | M23 | M24 | N1 | N2 | N3 | N4 | N5 | N6 | N7 | N8 | N9 | N10 | N11 | N12 | N13 | N14 | N15 | N16 | N17 | N18 | N19 | N20 | N21 | N22 | N23 | N24 | O1 | O2 | O3 | O4 | O5 | O6 | O7 | O8 | O9 | O10 | O11 | O12 | O13 | O14 | O15 | O16 | O17 | O18 | O19 | O20 | O21 | O22 | O23 | O24 | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P12 | P13 | P14 | P15 | P16 | P17 | P18 | P19 | P20 | P21 | P22 | P23 | P24
1 | 0 | 37 | C1: 210; C2: 212; C3: 213; C4: 213; C5: 209; C6: 212; C7: 207; C8: 219; C9: 218; C10: 215; C11: 213; C12: 208; C13: 220; C14: 211; D1: 7; D2: 212; D3: 6; D4: 210; D5: 6; D6: 219; D7: 6; D8: 217; D9: 6; D10: 216; D11: 6; D12: 216; D13: 6; D14: 201; E1: 201; E2: 212; E3: 208; E4: 208; E5: 211; E6: 208; E7: 209; E8: 208; E9: 217; E10: 205; E11: 206; E12: 201; E13: 208; E14: 206; F1: 6; F2: 210; F3: 5; F4: 215; F5: 5; F6: 213; F7: 6; F8: 212; F9: 6; F10: 209; F11: 6; F12: 210; F13: 6; F14: 196
2 | 120.008 | 36.8 | C1: 211; C2: 211; C3: 211; C4: 213; C5: 211; C6: 212; C7: 205; C8: 215; C9: 215; C10: 217; C11: 211; C12: 207; C13: 216; C14: 212; D1: 6; D2: 211; D3: 6; D4: 210; D5: 6; D6: 219; D7: 6; D8: 216; D9: 5; D10: 213; D11: 5; D12: 214; D13: 5; D14: 199; E1: 200; E2: 210; E3: 208; E4: 207; E5: 212; E6: 211; E7: 207; E8: 209; E9: 219; E10: 203; E11: 206; E12: 201; E13: 208; E14: 207; F1: 6; F2: 209; F3: 6; F4: 214; F5: 6; F6: 212; F7: 6; F8: 212; F9: 6; F10: 209; F11: 6; F12: 209; F13: 6; F14: 196
3 | 240.013 | 36.8 | C1: 212; C2: 212; C3: 211; C4: 213; C5: 210; C6: 211; C7: 204; C8: 217; C9: 215; C10: 215; C11: 206; C12: 207; C13: 214; C14: 211; D1: 6; D2: 208; D3: 6; D4: 209; D5: 5; D6: 218; D7: 6; D8: 216; D9: 6; D10: 212; D11: 5; D12: 213; D13: 5; D14: 199; E1: 201; E2: 211; E3: 207; E4: 206; E5: 212; E6: 210; E7: 207; E8: 208; E9: 219; E10: 203; E11: 207; E12: 202; E13: 208; E14: 209; F1: 6; F2: 210; F3: 6; F4: 214; F5: 6; F6: 211; F7: 6; F8: 210; F9: 6; F10: 207; F11: 6; F12: 208; F13: 6; F14: 196
4 | 360.022 | 36.8 | C1: 214; C2: 212; C3: 212; C4: 216; C5: 211; C6: 213; C7: 205; C8: 216; C9: 214; C10: 218; C11: 208; C12: 208; C13: 214; C14: 211; D1: 6; D2: 210; D3: 6; D4: 208; D5: 6; D6: 219; D7: 7; D8: 215; D9: 6; D10: 212; D11: 6; D12: 213; D13: 6; D14: 200; E1: 203; E2: 212; E3: 208; E4: 207; E5: 213; E6: 211; E7: 210; E8: 209; E9: 219; E10: 205; E11: 207; E12: 202; E13: 210; E14: 209; F1: 7; F2: 211; F3: 6; F4: 214; F5: 6; F6: 212; F7: 7; F8: 213; F9: 7; F10: 210; F11: 6; F12: 209; F13: 6; F14: 196
5 | 480.025 | 36.8 | C1: 215; C2: 214; C3: 213; C4: 215; C5: 212; C6: 213; C7: 208; C8: 217; C9: 215; C10: 219; C11: 209; C12: 208; C13: 216; C14: 213; D1: 7; D2: 210; D3: 7; D4: 210; D5: 6; D6: 220; D7: 6; D8: 216; D9: 6; D10: 215; D11: 6; D12: 215; D13: 6; D14: 203; E1: 208; E2: 214; E3: 211; E4: 209; E5: 215; E6: 213; E7: 212; E8: 210; E9: 221; E10: 206; E11: 210; E12: 203; E13: 212; E14: 211; F1: 7; F2: 214; F3: 6; F4: 217; F5: 6; F6: 217; F7: 6; F8: 216; F9: 7; F10: 210; F11: 7; F12: 210; F13: 7; F14: 201
6 | 600.03 | 36.9 | C1: 221; C2: 216; C3: 215; C4: 218; C5: 215; C6: 214; C7: 208; C8: 220; C9: 216; C10: 222; C11: 211; C12: 211; C13: 217; C14: 213; D1: 7; D2: 212; D3: 7; D4: 212; D5: 6; D6: 223; D7: 6; D8: 218; D9: 7; D10: 217; D11: 6; D12: 217; D13: 6; D14: 204; E1: 210; E2: 216; E3: 213; E4: 211; E5: 218; E6: 214; E7: 214; E8: 213; E9: 218; E10: 209; E11: 214; E12: 205; E13: 215; E14: 212; F1: 6; F2: 214; F3: 6; F4: 218; F5: 6; F6: 217; F7: 7; F8: 218; F9: 7; F10: 213; F11: 6; F12: 213; F13: 6; F14: 201
7 | 720.043 | 37 | C1: 225; C2: 223; C3: 218; C4: 220; C5: 219; C6: 219; C7: 212; C8: 224; C9: 218; C10: 224; C11: 214; C12: 213; C13: 219; C14: 218; D1: 7; D2: 218; D3: 7; D4: 214; D5: 6; D6: 224; D7: 7; D8: 217; D9: 7; D10: 219; D11: 6; D12: 219; D13: 6; D14: 205; E1: 215; E2: 223; E3: 215; E4: 214; E5: 220; E6: 217; E7: 217; E8: 214; E9: 220; E10: 212; E11: 216; E12: 207; E13: 216; E14: 215; F1: 7; F2: 220; F3: 6; F4: 221; F5: 7; F6: 220; F7: 7; F8: 219; F9: 6; F10: 216; F11: 7; F12: 214; F13: 6; F14: 205
8 | 840.046 | 36.9 | C1: 230; C2: 226; C3: 222; C4: 226; C5: 223; C6: 222; C7: 215; C8: 227; C9: 222; C10: 227; C11: 217; C12: 216; C13: 223; C14: 220; D1: 7; D2: 222; D3: 7; D4: 217; D5: 7; D6: 228; D7: 6; D8: 223; D9: 6; D10: 222; D11: 6; D12: 222; D13: 6; D14: 211; E1: 221; E2: 227; E3: 219; E4: 220; E5: 228; E6: 224; E7: 222; E8: 220; E9: 225; E10: 216; E11: 220; E12: 210; E13: 219; E14: 220; F1: 7; F2: 226; F3: 6; F4: 224; F5: 6; F6: 223; F7: 7; F8: 223; F9: 7; F10: 219; F11: 7; F12: 218; F13: 6; F14: 211
9 | 960.062 | 36.9 | C1: 236; C2: 231; C3: 228; C4: 231; C5: 230; C6: 227; C7: 220; C8: 231; C9: 227; C10: 231; C11: 221; C12: 221; C13: 228; C14: 226; D1: 8; D2: 225; D3: 7; D4: 220; D5: 7; D6: 233; D7: 6; D8: 227; D9: 7; D10: 226; D11: 7; D12: 224; D13: 6; D14: 214; E1: 229; E2: 236; E3: 227; E4: 226; E5: 233; E6: 227; E7: 227; E8: 227; E9: 228; E10: 221; E11: 224; E12: 216; E13: 227; E14: 224; F1: 7; F2: 234; F3: 7; F4: 233; F5: 7; F6: 231; F7: 8; F8: 229; F9: 7; F10: 223; F11: 7; F12: 222; F13: 7; F14: 216
10 | 1080.077 | 37 | C1: 245; C2: 238; C3: 232; C4: 235; C5: 235; C6: 232; C7: 225; C8: 236; C9: 232; C10: 235; C11: 226; C12: 225; C13: 231; C14: 232; D1: 8; D2: 233; D3: 7; D4: 223; D5: 8; D6: 237; D7: 7; D8: 230; D9: 7; D10: 230; D11: 7; D12: 230; D13: 6; D14: 217; E1: 239; E2: 246; E3: 234; E4: 233; E5: 239; E6: 234; E7: 231; E8: 232; E9: 237; E10: 227; E11: 230; E12: 221; E13: 232; E14: 229; F1: 7; F2: 242; F3: 8; F4: 238; F5: 7; F6: 237; F7: 8; F8: 234; F9: 8; F10: 231; F11: 7; F12: 228; F13: 7; F14: 220
11 | 1200.078 | 37 | C1: 251; C2: 245; C3: 239; C4: 242; C5: 241; C6: 238; C7: 231; C8: 240; C9: 237; C10: 243; C11: 231; C12: 231; C13: 239; C14: 238; D1: 8; D2: 238; D3: 7; D4: 228; D5: 7; D6: 243; D7: 7; D8: 236; D9: 7; D10: 234; D11: 7; D12: 235; D13: 7; D14: 222; E1: 248; E2: 252; E3: 243; E4: 242; E5: 247; E6: 241; E7: 239; E8: 238; E9: 244; E10: 234; E11: 237; E12: 227; E13: 237; E14: 236; F1: 7; F2: 250; F3: 7; F4: 244; F5: 7; F6: 244; F7: 8; F8: 242; F9: 8; F10: 236; F11: 7; F12: 236; F13: 7; F14: 223
12 | 1320.087 | 37 | C1: 260; C2: 254; C3: 245; C4: 247; C5: 247; C6: 245; C7: 236; C8: 248; C9: 244; C10: 248; C11: 235; C12: 235; C13: 242; C14: 240; D1: 8; D2: 246; D3: 7; D4: 235; D5: 8; D6: 249; D7: 7; D8: 241; D9: 7; D10: 240; D11: 7; D12: 239; D13: 7; D14: 226; E1: 258; E2: 266; E3: 250; E4: 248; E5: 255; E6: 250; E7: 245; E8: 246; E9: 252; E10: 241; E11: 243; E12: 234; E13: 244; E14: 242; F1: 8; F2: 262; F3: 7; F4: 254; F5: 7; F6: 251; F7: 7; F8: 250; F9: 8; F10: 243; F11: 7; F12: 242; F13: 8; F14: 231
13 | 1440.097 | 37 | C1: 269; C2: 260; C3: 253; C4: 255; C5: 252; C6: 250; C7: 241; C8: 252; C9: 250; C10: 252; C11: 244; C12: 241; C13: 249; C14: 247; D1: 8; D2: 253; D3: 8; D4: 240; D5: 8; D6: 257; D7: 7; D8: 248; D9: 7; D10: 247; D11: 7; D12: 245; D13: 7; D14: 230; E1: 271; E2: 278; E3: 258; E4: 254; E5: 263; E6: 256; E7: 254; E8: 252; E9: 260; E10: 247; E11: 252; E12: 241; E13: 252; E14: 250; F1: 8; F2: 274; F3: 7; F4: 263; F5: 7; F6: 258; F7: 8; F8: 259; F9: 8; F10: 252; F11: 8; F12: 248; F13: 7; F14: 238
14 | 1560.102 | 37 | C1: 280; C2: 269; C3: 259; C4: 262; C5: 259; C6: 257; C7: 249; C8: 258; C9: 257; C10: 260; C11: 249; C12: 247; C13: 255; C14: 253; D1: 8; D2: 261; D3: 8; D4: 247; D5: 8; D6: 263; D7: 8; D8: 253; D9: 8; D10: 251; D11: 7; D12: 251; D13: 7; D14: 235; E1: 283; E2: 288; E3: 270; E4: 265; E5: 273; E6: 266; E7: 261; E8: 260; E9: 269; E10: 253; E11: 258; E12: 249; E13: 260; E14: 256; F1: 7; F2: 286; F3: 8; F4: 272; F5: 8; F6: 268; F7: 8; F8: 265; F9: 7; F10: 258; F11: 7; F12: 253; F13: 7; F14: 245
15 | 1680.102 | 37 | C1: 289; C2: 277; C3: 267; C4: 268; C5: 267; C6: 265; C7: 254; C8: 264; C9: 264; C10: 266; C11: 254; C12: 255; C13: 260; C14: 263; D1: 8; D2: 270; D3: 8; D4: 255; D5: 8; D6: 270; D7: 7; D8: 261; D9: 8; D10: 258; D11: 7; D12: 257; D13: 7; D14: 241; E1: 299; E2: 304; E3: 279; E4: 277; E5: 282; E6: 276; E7: 271; E8: 270; E9: 279; E10: 263; E11: 266; E12: 255; E13: 266; E14: 266; F1: 7; F2: 299; F3: 7; F4: 282; F5: 8; F6: 279; F7: 7; F8: 272; F9: 7; F10: 268; F11: 8; F12: 261; F13: 7; F14: 251
16 | 1800.102 | 37 | C1: 299; C2: 288; C3: 276; C4: 277; C5: 276; C6: 273; C7: 262; C8: 271; C9: 272; C10: 273; C11: 263; C12: 263; C13: 268; C14: 268; D1: 8; D2: 278; D3: 8; D4: 261; D5: 8; D6: 279; D7: 7; D8: 267; D9: 8; D10: 265; D11: 7; D12: 263; D13: 7; D14: 248; E1: 313; E2: 319; E3: 290; E4: 286; E5: 293; E6: 285; E7: 279; E8: 280; E9: 290; E10: 272; E11: 274; E12: 263; E13: 276; E14: 274; F1: 8; F2: 314; F3: 8; F4: 295; F5: 8; F6: 288; F7: 8; F8: 283; F9: 8; F10: 274; F11: 8; F12: 271; F13: 7; F14: 259
17 | 1920.115 | 37 | C1: 311; C2: 298; C3: 283; C4: 284; C5: 285; C6: 281; C7: 271; C8: 281; C9: 278; C10: 282; C11: 272; C12: 269; C13: 275; C14: 273; D1: 8; D2: 289; D3: 8; D4: 269; D5: 8; D6: 286; D7: 8; D8: 274; D9: 8; D10: 272; D11: 8; D12: 270; D13: 8; D14: 254; E1: 332; E2: 334; E3: 303; E4: 298; E5: 306; E6: 298; E7: 289; E8: 289; E9: 299; E10: 280; E11: 284; E12: 273; E13: 284; E14: 282; F1: 8; F2: 331; F3: 7; F4: 305; F5: 7; F6: 299; F7: 8; F8: 294; F9: 8; F10: 284; F11: 7; F12: 280; F13: 8; F14: 268
18 | 2040.123 | 37 | C1: 323; C2: 310; C3: 293; C4: 293; C5: 295; C6: 289; C7: 277; C8: 286; C9: 288; C10: 290; C11: 278; C12: 274; C13: 282; C14: 283; D1: 8; D2: 300; D3: 8; D4: 277; D5: 8; D6: 295; D7: 8; D8: 281; D9: 8; D10: 280; D11: 7; D12: 278; D13: 7; D14: 262; E1: 347; E2: 354; E3: 314; E4: 311; E5: 316; E6: 308; E7: 299; E8: 299; E9: 311; E10: 291; E11: 294; E12: 283; E13: 294; E14: 292; F1: 7; F2: 350; F3: 8; F4: 318; F5: 8; F6: 310; F7: 8; F8: 301; F9: 8; F10: 293; F11: 8; F12: 286; F13: 8; F14: 274
19 | 2160.134 | 37 | C1: 336; C2: 320; C3: 302; C4: 304; C5: 304; C6: 297; C7: 287; C8: 293; C9: 296; C10: 296; C11: 286; C12: 283; C13: 289; C14: 288; D1: 9; D2: 310; D3: 8; D4: 284; D5: 7; D6: 305; D7: 8; D8: 290; D9: 8; D10: 286; D11: 8; D12: 284; D13: 8; D14: 265; E1: 366; E2: 373; E3: 329; E4: 325; E5: 330; E6: 321; E7: 310; E8: 310; E9: 325; E10: 301; E11: 304; E12: 291; E13: 305; E14: 303; F1: 8; F2: 368; F3: 8; F4: 331; F5: 8; F6: 322; F7: 7; F8: 313; F9: 8; F10: 302; F11: 8; F12: 297; F13: 8; F14: 285
20 | 2280.139 | 37 | C1: 348; C2: 333; C3: 313; C4: 313; C5: 314; C6: 305; C7: 294; C8: 304; C9: 306; C10: 308; C11: 293; C12: 292; C13: 299; C14: 297; D1: 8; D2: 322; D3: 8; D4: 292; D5: 8; D6: 314; D7: 8; D8: 296; D9: 8; D10: 294; D11: 8; D12: 291; D13: 7; D14: 275; E1: 388; E2: 394; E3: 343; E4: 339; E5: 344; E6: 333; E7: 321; E8: 322; E9: 339; E10: 311; E11: 315; E12: 304; E13: 314; E14: 310; F1: 7; F2: 390; F3: 7; F4: 345; F5: 8; F6: 334; F7: 8; F8: 328; F9: 8; F10: 314; F11: 8; F12: 306; F13: 8; F14: 292
21 | 2400.148 | 37 | C1: 363; C2: 344; C3: 324; C4: 320; C5: 322; C6: 317; C7: 304; C8: 312; C9: 314; C10: 314; C11: 303; C12: 300; C13: 307; C14: 305; D1: 9; D2: 335; D3: 8; D4: 301; D5: 8; D6: 323; D7: 8; D8: 305; D9: 8; D10: 302; D11: 8; D12: 300; D13: 7; D14: 280; E1: 408; E2: 416; E3: 357; E4: 352; E5: 357; E6: 348; E7: 332; E8: 332; E9: 350; E10: 322; E11: 326; E12: 314; E13: 325; E14: 322; F1: 8; F2: 408; F3: 8; F4: 358; F5: 8; F6: 346; F7: 8; F8: 338; F9: 8; F10: 323; F11: 8; F12: 317; F13: 7; F14: 300
22 | 2520.159 | 37 | C1: 375; C2: 354; C3: 331; C4: 333; C5: 332; C6: 326; C7: 311; C8: 320; C9: 321; C10: 325; C11: 310; C12: 308; C13: 316; C14: 314; D1: 8; D2: 344; D3: 8; D4: 310; D5: 8; D6: 333; D7: 8; D8: 312; D9: 8; D10: 312; D11: 8; D12: 306; D13: 7; D14: 286; E1: 431; E2: 437; E3: 372; E4: 367; E5: 370; E6: 362; E7: 345; E8: 344; E9: 362; E10: 333; E11: 337; E12: 324; E13: 335; E14: 332; F1: 8; F2: 431; F3: 8; F4: 373; F5: 8; F6: 360; F7: 8; F8: 349; F9: 8; F10: 333; F11: 8; F12: 330; F13: 8; F14: 307
23 | 2640.169 | 37.1 | C1: 392; C2: 368; C3: 342; C4: 342; C5: 342; C6: 335; C7: 321; C8: 329; C9: 332; C10: 331; C11: 319; C12: 317; C13: 323; C14: 320; D1: 9; D2: 357; D3: 8; D4: 320; D5: 8; D6: 344; D7: 8; D8: 320; D9: 8; D10: 318; D11: 8; D12: 315; D13: 8; D14: 295; E1: 451; E2: 459; E3: 388; E4: 385; E5: 386; E6: 374; E7: 355; E8: 356; E9: 375; E10: 343; E11: 347; E12: 334; E13: 346; E14: 341; F1: 8; F2: 453; F3: 8; F4: 388; F5: 8; F6: 370; F7: 8; F8: 363; F9: 7; F10: 344; F11: 8; F12: 337; F13: 9; F14: 319
24 | 2760.176 | 37 | C1: 404; C2: 380; C3: 351; C4: 348; C5: 352; C6: 343; C7: 328; C8: 336; C9: 338; C10: 338; C11: 328; C12: 323; C13: 329; C14: 328; D1: 9; D2: 367; D3: 8; D4: 329; D5: 8; D6: 350; D7: 8; D8: 329; D9: 8; D10: 326; D11: 7; D12: 321; D13: 7; D14: 300; E1: 475; E2: 481; E3: 402; E4: 395; E5: 398; E6: 387; E7: 367; E8: 366; E9: 391; E10: 355; E11: 359; E12: 344; E13: 355; E14: 352; F1: 8; F2: 477; F3: 8; F4: 405; F5: 8; F6: 383; F7: 8; F8: 376; F9: 8; F10: 355; F11: 8; F12: 348; F13: 8; F14: 330
25 | 2880.182 | 37 | C1: 419; C2: 397; C3: 361; C4: 362; C5: 363; C6: 353; C7: 339; C8: 346; C9: 350; C10: 350; C11: 336; C12: 332; C13: 338; C14: 336; D1: 8; D2: 382; D3: 8; D4: 337; D5: 8; D6: 362; D7: 8; D8: 337; D9: 8; D10: 336; D11: 8; D12: 331; D13: 8; D14: 308; E1: 500; E2: 508; E3: 421; E4: 413; E5: 413; E6: 403; E7: 380; E8: 381; E9: 403; E10: 367; E11: 372; E12: 357; E13: 367; E14: 366; F1: 8; F2: 499; F3: 9; F4: 420; F5: 8; F6: 399; F7: 8; F8: 387; F9: 8; F10: 366; F11: 8; F12: 358; F13: 8; F14: 338
26 | 3000.193 | 37 | C1: 432; C2: 407; C3: 371; C4: 370; C5: 372; C6: 362; C7: 347; C8: 355; C9: 357; C10: 359; C11: 345; C12: 340; C13: 345; C14: 344; D1: 9; D2: 395; D3: 8; D4: 346; D5: 8; D6: 372; D7: 8; D8: 345; D9: 8; D10: 345; D11: 8; D12: 338; D13: 8; D14: 317; E1: 524; E2: 533; E3: 436; E4: 432; E5: 429; E6: 417; E7: 393; E8: 394; E9: 417; E10: 379; E11: 382; E12: 366; E13: 380; E14: 377; F1: 9; F2: 528; F3: 8; F4: 436; F5: 8; F6: 412; F7: 8; F8: 400; F9: 8; F10: 378; F11: 7; F12: 370; F13: 8; F14: 347
27 | 3120.199 | 37 | C1: 448; C2: 419; C3: 384; C4: 382; C5: 386; C6: 373; C7: 356; C8: 363; C9: 368; C10: 369; C11: 355; C12: 350; C13: 356; C14: 353; D1: 9; D2: 408; D3: 8; D4: 357; D5: 8; D6: 383; D7: 8; D8: 355; D9: 8; D10: 353; D11: 8; D12: 345; D13: 8; D14: 325; E1: 549; E2: 560; E3: 454; E4: 447; E5: 443; E6: 432; E7: 406; E8: 406; E9: 433; E10: 391; E11: 394; E12: 379; E13: 389; E14: 387; F1: 9; F2: 550; F3: 8; F4: 450; F5: 8; F6: 426; F7: 8; F8: 411; F9: 8; F10: 389; F11: 8; F12: 381; F13: 8; F14: 358
28 | 3240.212 | 37 | C1: 464; C2: 434; C3: 394; C4: 391; C5: 395; C6: 382; C7: 367; C8: 374; C9: 377; C10: 377; C11: 365; C12: 358; C13: 366; C14: 361; D1: 9; D2: 423; D3: 8; D4: 364; D5: 9; D6: 394; D7: 8; D8: 364; D9: 8; D10: 363; D11: 9; D12: 356; D13: 8; D14: 329; E1: 574; E2: 584; E3: 470; E4: 464; E5: 458; E6: 447; E7: 416; E8: 416; E9: 448; E10: 403; E11: 406; E12: 390; E13: 402; E14: 397; F1: 9; F2: 579; F3: 8; F4: 469; F5: 8; F6: 440; F7: 8; F8: 427; F9: 8; F10: 402; F11: 9; F12: 393; F13: 9; F14: 369
29 | 3360.237 | 37 | C1: 476; C2: 447; C3: 405; C4: 401; C5: 405; C6: 394; C7: 377; C8: 384; C9: 387; C10: 389; C11: 373; C12: 368; C13: 374; C14: 369; D1: 9; D2: 436; D3: 9; D4: 374; D5: 9; D6: 403; D7: 8; D8: 371; D9: 8; D10: 370; D11: 8; D12: 365; D13: 9; D14: 339; E1: 602; E2: 612; E3: 486; E4: 483; E5: 476; E6: 462; E7: 431; E8: 432; E9: 462; E10: 412; E11: 416; E12: 401; E13: 414; E14: 411; F1: 8; F2: 603; F3: 8; F4: 488; F5: 8; F6: 454; F7: 8; F8: 437; F9: 8; F10: 412; F11: 9; F12: 402; F13: 8; F14: 377
30 | 3480.242 | 37 | C1: 495; C2: 462; C3: 416; C4: 415; C5: 418; C6: 403; C7: 386; C8: 393; C9: 398; C10: 399; C11: 383; C12: 377; C13: 383; C14: 378; D1: 9; D2: 449; D3: 8; D4: 384; D5: 9; D6: 414; D7: 9; D8: 380; D9: 8; D10: 379; D11: 8; D12: 371; D13: 8; D14: 348; E1: 626; E2: 637; E3: 506; E4: 500; E5: 488; E6: 476; E7: 443; E8: 444; E9: 474; E10: 425; E11: 430; E12: 412; E13: 423; E14: 420; F1: 8; F2: 632; F3: 9; F4: 502; F5: 9; F6: 470; F7: 8; F8: 451; F9: 9; F10: 423; F11: 8; F12: 413; F13: 8; F14: 388
31 | 3600.257 | 37 | C1: 506; C2: 478; C3: 428; C4: 423; C5: 425; C6: 415; C7: 397; C8: 401; C9: 406; C10: 411; C11: 393; C12: 386; C13: 393; C14: 387; D1: 9; D2: 462; D3: 9; D4: 394; D5: 9; D6: 426; D7: 8; D8: 389; D9: 8; D10: 388; D11: 9; D12: 379; D13: 9; D14: 355; E1: 653; E2: 664; E3: 523; E4: 519; E5: 506; E6: 493; E7: 456; E8: 458; E9: 490; E10: 438; E11: 442; E12: 426; E13: 434; E14: 434; F1: 8; F2: 663; F3: 8; F4: 521; F5: 9; F6: 486; F7: 9; F8: 465; F9: 8; F10: 432; F11: 9; F12: 427; F13: 10; F14: 399
32 | 3720.263 | 37 | C1: 524; C2: 490; C3: 438; C4: 437; C5: 439; C6: 427; C7: 409; C8: 410; C9: 419; C10: 419; C11: 402; C12: 393; C13: 399; C14: 395; D1: 9; D2: 478; D3: 9; D4: 404; D5: 9; D6: 434; D7: 8; D8: 401; D9: 8; D10: 398; D11: 8; D12: 389; D13: 8; D14: 364; E1: 685; E2: 696; E3: 540; E4: 539; E5: 526; E6: 512; E7: 471; E8: 473; E9: 508; E10: 451; E11: 456; E12: 438; E13: 451; E14: 445; F1: 9; F2: 688; F3: 8; F4: 541; F5: 8; F6: 501; F7: 8; F8: 481; F9: 9; F10: 443; F11: 9; F12: 437; F13: 9; F14: 409
33 | 3840.276 | 37 | C1: 540; C2: 504; C3: 447; C4: 444; C5: 448; C6: 434; C7: 415; C8: 422; C9: 429; C10: 427; C11: 412; C12: 403; C13: 411; C14: 402; D1: 9; D2: 492; D3: 9; D4: 414; D5: 9; D6: 446; D7: 9; D8: 408; D9: 9; D10: 406; D11: 9; D12: 395; D13: 9; D14: 371; E1: 710; E2: 720; E3: 563; E4: 557; E5: 539; E6: 525; E7: 484; E8: 485; E9: 524; E10: 463; E11: 467; E12: 449; E13: 462; E14: 457; F1: 9; F2: 720; F3: 9; F4: 560; F5: 9; F6: 516; F7: 9; F8: 495; F9: 9; F10: 460; F11: 9; F12: 450; F13: 9; F14: 420
34 | 3960.283 | 37.1 | C1: 558; C2: 518; C3: 459; C4: 454; C5: 461; C6: 446; C7: 425; C8: 430; C9: 438; C10: 435; C11: 422; C12: 412; C13: 418; C14: 411; D1: 10; D2: 506; D3: 9; D4: 424; D5: 9; D6: 456; D7: 9; D8: 419; D9: 9; D10: 418; D11: 9; D12: 405; D13: 9; D14: 378; E1: 741; E2: 750; E3: 578; E4: 575; E5: 557; E6: 541; E7: 496; E8: 500; E9: 538; E10: 479; E11: 479; E12: 462; E13: 471; E14: 468; F1: 9; F2: 745; F3: 9; F4: 580; F5: 9; F6: 532; F7: 9; F8: 508; F9: 9; F10: 470; F11: 9; F12: 464; F13: 9; F14: 427
35 | 4080.285 | 37 | C1: 572; C2: 530; C3: 470; C4: 462; C5: 470; C6: 453; C7: 435; C8: 439; C9: 446; C10: 446; C11: 432; C12: 418; C13: 428; C14: 419; D1: 10; D2: 519; D3: 9; D4: 434; D5: 9; D6: 467; D7: 9; D8: 427; D9: 9; D10: 429; D11: 9; D12: 409; D13: 9; D14: 388; E1: 762; E2: 781; E3: 599; E4: 595; E5: 571; E6: 556; E7: 508; E8: 512; E9: 556; E10: 486; E11: 490; E12: 472; E13: 485; E14: 478; F1: 9; F2: 774; F3: 9; F4: 595; F5: 9; F6: 548; F7: 9; F8: 520; F9: 10; F10: 480; F11: 9; F12: 475; F13: 9; F14: 440
36 | 4200.289 | 37 | C1: 585; C2: 549; C3: 482; C4: 478; C5: 480; C6: 465; C7: 445; C8: 449; C9: 456; C10: 455; C11: 438; C12: 427; C13: 438; C14: 428; D1: 9; D2: 534; D3: 9; D4: 443; D5: 10; D6: 477; D7: 9; D8: 435; D9: 9; D10: 435; D11: 9; D12: 424; D13: 9; D14: 395; E1: 794; E2: 805; E3: 616; E4: 611; E5: 586; E6: 573; E7: 524; E8: 526; E9: 564; E10: 502; E11: 503; E12: 485; E13: 496; E14: 494; F1: 9; F2: 807; F3: 9; F4: 613; F5: 9; F6: 560; F7: 9; F8: 535; F9: 9; F10: 494; F11: 9; F12: 486; F13: 9; F14: 452
37 | 4320.298 | 37 | C1: 604; C2: 563; C3: 495; C4: 488; C5: 492; C6: 475; C7: 456; C8: 457; C9: 464; C10: 466; C11: 449; C12: 437; C13: 445; C14: 435; D1: 10; D2: 549; D3: 9; D4: 452; D5: 10; D6: 488; D7: 9; D8: 444; D9: 9; D10: 443; D11: 10; D12: 431; D13: 9; D14: 404; E1: 823; E2: 838; E3: 635; E4: 631; E5: 605; E6: 589; E7: 537; E8: 538; E9: 583; E10: 515; E11: 518; E12: 498; E13: 512; E14: 505; F1: 9; F2: 834; F3: 10; F4: 634; F5: 9; F6: 577; F7: 10; F8: 550; F9: 10; F10: 507; F11: 9; F12: 500; F13: 9; F14: 458
38 | 4440.31 | 37.1 | C1: 618; C2: 577; C3: 506; C4: 500; C5: 506; C6: 487; C7: 465; C8: 468; C9: 476; C10: 476; C11: 461; C12: 447; C13: 456; C14: 445; D1: 10; D2: 565; D3: 10; D4: 465; D5: 9; D6: 499; D7: 10; D8: 456; D9: 9; D10: 455; D11: 10; D12: 438; D13: 9; D14: 411; E1: 852; E2: 866; E3: 653; E4: 651; E5: 624; E6: 608; E7: 551; E8: 554; E9: 598; E10: 528; E11: 531; E12: 511; E13: 521; E14: 519; F1: 10; F2: 864; F3: 10; F4: 656; F5: 9; F6: 593; F7: 10; F8: 563; F9: 10; F10: 518; F11: 9; F12: 509; F13: 9; F14: 470
39 | 4560.32 | 37.1 | C1: 637; C2: 591; C3: 517; C4: 510; C5: 515; C6: 496; C7: 476; C8: 477; C9: 487; C10: 487; C11: 468; C12: 452; C13: 463; C14: 452; D1: 9; D2: 579; D3: 10; D4: 474; D5: 10; D6: 511; D7: 9; D8: 464; D9: 9; D10: 462; D11: 9; D12: 449; D13: 9; D14: 419; E1: 878; E2: 894; E3: 673; E4: 673; E5: 639; E6: 624; E7: 566; E8: 570; E9: 616; E10: 539; E11: 542; E12: 522; E13: 533; E14: 531; F1: 10; F2: 894; F3: 9; F4: 671; F5: 9; F6: 609; F7: 9; F8: 576; F9: 10; F10: 529; F11: 10; F12: 519; F13: 10; F14: 483
40 | 4680.326 | 37.1 | C1: 651; C2: 608; C3: 531; C4: 522; C5: 527; C6: 507; C7: 484; C8: 486; C9: 496; C10: 498; C11: 479; C12: 463; C13: 471; C14: 461; D1: 10; D2: 596; D3: 9; D4: 486; D5: 10; D6: 523; D7: 10; D8: 473; D9: 9; D10: 472; D11: 10; D12: 456; D13: 10; D14: 426; E1: 903; E2: 926; E3: 693; E4: 690; E5: 655; E6: 639; E7: 580; E8: 579; E9: 629; E10: 553; E11: 553; E12: 535; E13: 549; E14: 542; F1: 10; F2: 925; F3: 10; F4: 692; F5: 10; F6: 626; F7: 10; F8: 587; F9: 10; F10: 541; F11: 9; F12: 531; F13: 10; F14: 496
41 | 4800.337 | 37.1 | C1: 665; C2: 624; C3: 539; C4: 532; C5: 538; C6: 517; C7: 495; C8: 497; C9: 507; C10: 508; C11: 488; C12: 475; C13: 483; C14: 470; D1: 10; D2: 609; D3: 10; D4: 495; D5: 9; D6: 533; D7: 10; D8: 482; D9: 10; D10: 482; D11: 9; D12: 466; D13: 9; D14: 433; E1: 938; E2: 956; E3: 712; E4: 709; E5: 673; E6: 657; E7: 592; E8: 594; E9: 646; E10: 565; E11: 566; E12: 546; E13: 559; E14: 553; F1: 10; F2: 953; F3: 10; F4: 711; F5: 10; F6: 640; F7: 10; F8: 607; F9: 10; F10: 555; F11: 10; F12: 541; F13: 9; F14: 503
42 | 4920.339 | 37 | C1: 683; C2: 637; C3: 551; C4: 544; C5: 549; C6: 530; C7: 505; C8: 506; C9: 517; C10: 517; C11: 497; C12: 482; C13: 490; C14: 477; D1: 10; D2: 627; D3: 9; D4: 504; D5: 9; D6: 542; D7: 10; D8: 492; D9: 10; D10: 490; D11: 10; D12: 474; D13: 9; D14: 439; E1: 960; E2: 985; E3: 732; E4: 728; E5: 694; E6: 671; E7: 604; E8: 609; E9: 661; E10: 576; E11: 577; E12: 556; E13: 568; E14: 568; F1: 9; F2: 982; F3: 10; F4: 730; F5: 9; F6: 658; F7: 10; F8: 621; F9: 9; F10: 564; F11: 9; F12: 556; F13: 10; F14: 514
43 | 5040.347 | 37 | C1: 701; C2: 647; C3: 561; C4: 555; C5: 558; C6: 536; C7: 515; C8: 514; C9: 528; C10: 522; C11: 508; C12: 491; C13: 500; C14: 483; D1: 10; D2: 640; D3: 10; D4: 516; D5: 10; D6: 556; D7: 10; D8: 502; D9: 9; D10: 499; D11: 10; D12: 482; D13: 10; D14: 450; E1: 984; E2: 1010; E3: 748; E4: 747; E5: 703; E6: 686; E7: 618; E8: 620; E9: 677; E10: 589; E11: 591; E12: 570; E13: 582; E14: 580; F1: 10; F2: 1014; F3: 10; F4: 750; F5: 10; F6: 675; F7: 10; F8: 634; F9: 10; F10: 575; F11: 9; F12: 567; F13: 10; F14: 523
44 | 5160.359 | 37.1 | C1: 714; C2: 664; C3: 573; C4: 565; C5: 571; C6: 546; C7: 525; C8: 526; C9: 538; C10: 534; C11: 519; C12: 500; C13: 510; C14: 493; D1: 10; D2: 651; D3: 10; D4: 526; D5: 10; D6: 566; D7: 10; D8: 510; D9: 10; D10: 507; D11: 10; D12: 491; D13: 9; D14: 458; E1: 1010; E2: 1033; E3: 766; E4: 762; E5: 721; E6: 704; E7: 631; E8: 634; E9: 689; E10: 599; E11: 603; E12: 580; E13: 591; E14: 591; F1: 10; F2: 1040; F3: 10; F4: 769; F5: 10; F6: 689; F7: 10; F8: 646; F9: 11; F10: 590; F11: 10; F12: 577; F13: 9; F14: 535
45 | 5280.373 | 37.1 | C1: 733; C2: 678; C3: 582; C4: 575; C5: 579; C6: 557; C7: 532; C8: 533; C9: 545; C10: 542; C11: 525; C12: 507; C13: 518; C14: 501; D1: 11; D2: 666; D3: 10; D4: 534; D5: 10; D6: 576; D7: 10; D8: 521; D9: 10; D10: 515; D11: 10; D12: 498; D13: 10; D14: 466; E1: 1038; E2: 1068; E3: 783; E4: 783; E5: 737; E6: 719; E7: 645; E8: 646; E9: 704; E10: 613; E11: 614; E12: 593; E13: 604; E14: 601; F1: 10; F2: 1069; F3: 10; F4: 784; F5: 9; F6: 705; F7: 10; F8: 660; F9: 10; F10: 600; F11: 10; F12: 589; F13: 10; F14: 544
46 | 5400.378 | 37.1 | C1: 748; C2: 693; C3: 595; C4: 587; C5: 590; C6: 567; C7: 541; C8: 544; C9: 555; C10: 552; C11: 533; C12: 515; C13: 525; C14: 510; D1: 11; D2: 684; D3: 10; D4: 544; D5: 10; D6: 587; D7: 10; D8: 528; D9: 10; D10: 526; D11: 10; D12: 508; D13: 9; D14: 473; E1: 1063; E2: 1089; E3: 802; E4: 798; E5: 752; E6: 735; E7: 658; E8: 658; E9: 718; E10: 624; E11: 626; E12: 604; E13: 615; E14: 612; F1: 10; F2: 1095; F3: 10; F4: 803; F5: 10; F6: 718; F7: 10; F8: 674; F9: 10; F10: 611; F11: 10; F12: 603; F13: 10; F14: 557
47 | 5520.387 | 37.1 | C1: 766; C2: 709; C3: 604; C4: 598; C5: 604; C6: 578; C7: 557; C8: 550; C9: 561; C10: 562; C11: 544; C12: 524; C13: 535; C14: 518; D1: 10; D2: 697; D3: 10; D4: 556; D5: 10; D6: 599; D7: 10; D8: 535; D9: 10; D10: 532; D11: 10; D12: 514; D13: 9; D14: 481; E1: 1093; E2: 1117; E3: 821; E4: 820; E5: 768; E6: 751; E7: 670; E8: 672; E9: 730; E10: 634; E11: 639; E12: 617; E13: 629; E14: 624; F1: 10; F2: 1121; F3: 10; F4: 823; F5: 9; F6: 732; F7: 10; F8: 686; F9: 10; F10: 622; F11: 11; F12: 612; F13: 10; F14: 564
48 | 5640.4 | 37 | C1: 777; C2: 722; C3: 614; C4: 611; C5: 614; C6: 589; C7: 563; C8: 562; C9: 573; C10: 574; C11: 553; C12: 533; C13: 545; C14: 527; D1: 11; D2: 713; D3: 10; D4: 567; D5: 10; D6: 608; D7: 9; D8: 545; D9: 9; D10: 543; D11: 10; D12: 523; D13: 9; D14: 486; E1: 1115; E2: 1145; E3: 842; E4: 837; E5: 784; E6: 766; E7: 683; E8: 688; E9: 747; E10: 649; E11: 652; E12: 630; E13: 641; E14: 642; F1: 11; F2: 1153; F3: 10; F4: 846; F5: 11; F6: 750; F7: 10; F8: 702; F9: 10; F10: 634; F11: 10; F12: 621; F13: 10; F14: 571
49 | 5760.403 | 37 | C1: 797; C2: 736; C3: 629; C4: 620; C5: 623; C6: 598; C7: 571; C8: 569; C9: 587; C10: 582; C11: 562; C12: 543; C13: 554; C14: 535; D1: 11; D2: 724; D3: 10; D4: 576; D5: 10; D6: 619; D7: 10; D8: 555; D9: 10; D10: 553; D11: 9; D12: 532; D13: 10; D14: 495; E1: 1140; E2: 1170; E3: 858; E4: 856; E5: 801; E6: 784; E7: 697; E8: 701; E9: 761; E10: 659; E11: 663; E12: 639; E13: 652; E14: 648; F1: 10; F2: 1181; F3: 10; F4: 863; F5: 10; F6: 763; F7: 10; F8: 717; F9: 10; F10: 642; F11: 10; F12: 635; F13: 10; F14: 584
50 | 5880.407 | 37.1 | C1: 806; C2: 750; C3: 641; C4: 630; C5: 633; C6: 607; C7: 583; C8: 579; C9: 593; C10: 590; C11: 571; C12: 550; C13: 561; C14: 544; D1: 11; D2: 742; D3: 10; D4: 579; D5: 10; D6: 629; D7: 10; D8: 565; D9: 10; D10: 559; D11: 10; D12: 541; D13: 10; D14: 504; E1: 1167; E2: 1195; E3: 873; E4: 875; E5: 815; E6: 797; E7: 710; E8: 710; E9: 776; E10: 672; E11: 674; E12: 651; E13: 662; E14: 657; F1: 10; F2: 1204; F3: 10; F4: 879; F5: 10; F6: 781; F7: 10; F8: 728; F9: 11; F10: 658; F11: 10; F12: 645; F13: 10; F14: 591
51 | 6000.422 | 37.1 | C1: 824; C2: 764; C3: 648; C4: 638; C5: 643; C6: 617; C7: 591; C8: 587; C9: 602; C10: 599; C11: 579; C12: 556; C13: 570; C14: 549; D1: 10; D2: 755; D3: 10; D4: 591; D5: 10; D6: 642; D7: 10; D8: 571; D9: 10; D10: 571; D11: 10; D12: 548; D13: 10; D14: 511; E1: 1187; E2: 1220; E3: 897; E4: 889; E5: 832; E6: 813; E7: 720; E8: 726; E9: 787; E10: 683; E11: 686; E12: 662; E13: 677; E14: 671; F1: 10; F2: 1240; F3: 10; F4: 904; F5: 10; F6: 800; F7: 11; F8: 745; F9: 10; F10: 667; F11: 10; F12: 659; F13: 10; F14: 606
52 | 6120.427 | 37.1 | C1: 841; C2: 777; C3: 661; C4: 653; C5: 658; C6: 625; C7: 601; C8: 598; C9: 614; C10: 610; C11: 589; C12: 565; C13: 578; C14: 556; D1: 10; D2: 770; D3: 10; D4: 603; D5: 10; D6: 649; D7: 10; D8: 579; D9: 10; D10: 580; D11: 10; D12: 557; D13: 11; D14: 520; E1: 1215; E2: 1244; E3: 909; E4: 912; E5: 849; E6: 827; E7: 737; E8: 738; E9: 806; E10: 697; E11: 696; E12: 673; E13: 685; E14: 681; F1: 11; F2: 1258; F3: 10; F4: 917; F5: 10; F6: 813; F7: 10; F8: 753; F9: 10; F10: 675; F11: 10; F12: 670; F13: 10; F14: 614
53 | 6240.44 | 37 | C1: 852; C2: 788; C3: 671; C4: 661; C5: 664; C6: 634; C7: 608; C8: 606; C9: 620; C10: 618; C11: 599; C12: 571; C13: 588; C14: 565; D1: 11; D2: 784; D3: 11; D4: 613; D5: 10; D6: 659; D7: 10; D8: 588; D9: 10; D10: 586; D11: 10; D12: 563; D13: 10; D14: 525; E1: 1234; E2: 1273; E3: 924; E4: 928; E5: 863; E6: 843; E7: 746; E8: 750; E9: 818; E10: 704; E11: 707; E12: 686; E13: 696; E14: 693; F1: 10; F2: 1292; F3: 10; F4: 940; F5: 10; F6: 827; F7: 10; F8: 768; F9: 10; F10: 688; F11: 10; F12: 681; F13: 10; F14: 627
54 | 6360.447 | 37 | C1: 874; C2: 806; C3: 681; C4: 672; C5: 677; C6: 646; C7: 619; C8: 617; C9: 630; C10: 628; C11: 607; C12: 584; C13: 593; C14: 571; D1: 11; D2: 797; D3: 11; D4: 623; D5: 10; D6: 668; D7: 10; D8: 595; D9: 10; D10: 595; D11: 10; D12: 574; D13: 10; D14: 536; E1: 1259; E2: 1296; E3: 948; E4: 944; E5: 881; E6: 856; E7: 758; E8: 763; E9: 832; E10: 716; E11: 722; E12: 695; E13: 708; E14: 701; F1: 11; F2: 1309; F3: 10; F4: 955; F5: 11; F6: 842; F7: 10; F8: 787; F9: 10; F10: 699; F11: 10; F12: 691; F13: 10; F14: 634
55 | 6480.455 | 37 | C1: 884; C2: 816; C3: 690; C4: 680; C5: 686; C6: 656; C7: 628; C8: 623; C9: 638; C10: 635; C11: 614; C12: 589; C13: 605; C14: 578; D1: 11; D2: 809; D3: 11; D4: 632; D5: 11; D6: 680; D7: 10; D8: 603; D9: 10; D10: 603; D11: 9; D12: 581; D13: 11; D14: 542; E1: 1280; E2: 1315; E3: 961; E4: 960; E5: 891; E6: 872; E7: 771; E8: 773; E9: 840; E10: 729; E11: 732; E12: 709; E13: 717; E14: 712; F1: 11; F2: 1331; F3: 10; F4: 972; F5: 10; F6: 856; F7: 10; F8: 795; F9: 10; F10: 711; F11: 10; F12: 697; F13: 10; F14: 643
56 | 6600.46 | 37.1 | C1: 901; C2: 834; C3: 701; C4: 691; C5: 697; C6: 667; C7: 637; C8: 633; C9: 646; C10: 646; C11: 624; C12: 598; C13: 610; C14: 587; D1: 11; D2: 825; D3: 10; D4: 642; D5: 11; D6: 688; D7: 10; D8: 611; D9: 10; D10: 614; D11: 10; D12: 589; D13: 10; D14: 547; E1: 1303; E2: 1336; E3: 975; E4: 979; E5: 910; E6: 889; E7: 785; E8: 787; E9: 858; E10: 738; E11: 741; E12: 718; E13: 728; E14: 723; F1: 10; F2: 1355; F3: 10; F4: 987; F5: 10; F6: 868; F7: 11; F8: 807; F9: 10; F10: 719; F11: 10; F12: 707; F13: 10; F14: 653
57 | 6720.468 | 37.1 | C1: 911; C2: 846; C3: 713; C4: 702; C5: 704; C6: 672; C7: 645; C8: 640; C9: 657; C10: 656; C11: 633; C12: 603; C13: 620; C14: 592; D1: 11; D2: 841; D3: 11; D4: 653; D5: 11; D6: 696; D7: 11; D8: 623; D9: 10; D10: 621; D11: 11; D12: 598; D13: 10; D14: 556; E1: 1326; E2: 1363; E3: 996; E4: 994; E5: 920; E6: 902; E7: 794; E8: 799; E9: 868; E10: 750; E11: 753; E12: 728; E13: 738; E14: 734; F1: 11; F2: 1378; F3: 11; F4: 1005; F5: 11; F6: 884; F7: 10; F8: 817; F9: 11; F10: 730; F11: 10; F12: 722; F13: 11; F14: 660
58 | 6840.483 | 37 | C1: 925; C2: 862; C3: 721; C4: 714; C5: 712; C6: 682; C7: 655; C8: 648; C9: 665; C10: 664; C11: 640; C12: 615; C13: 629; C14: 602; D1: 11; D2: 853; D3: 11; D4: 661; D5: 11; D6: 710; D7: 10; D8: 630; D9: 11; D10: 628; D11: 11; D12: 605; D13: 10; D14: 562; E1: 1350; E2: 1383; E3: 1012; E4: 1015; E5: 938; E6: 916; E7: 807; E8: 813; E9: 883; E10: 763; E11: 764; E12: 741; E13: 752; E14: 748; F1: 11; F2: 1405; F3: 11; F4: 1024; F5: 10; F6: 899; F7: 11; F8: 832; F9: 11; F10: 741; F11: 11; F12: 733; F13: 11; F14: 669
59 | 6960.49 | 37 | C1: 940; C2: 873; C3: 735; C4: 724; C5: 725; C6: 692; C7: 663; C8: 656; C9: 673; C10: 673; C11: 653; C12: 619; C13: 635; C14: 609; D1: 11; D2: 867; D3: 10; D4: 673; D5: 11; D6: 719; D7: 11; D8: 636; D9: 10; D10: 636; D11: 10; D12: 614; D13: 11; D14: 573; E1: 1366; E2: 1407; E3: 1029; E4: 1031; E5: 949; E6: 928; E7: 817; E8: 823; E9: 897; E10: 775; E11: 773; E12: 750; E13: 762; E14: 755; F1: 11; F2: 1428; F3: 11; F4: 1042; F5: 10; F6: 912; F7: 11; F8: 845; F9: 11; F10: 751; F11: 11; F12: 745; F13: 11; F14: 682
60 | 7080.479 | 37 | C1: 959; C2: 889; C3: 742; C4: 732; C5: 736; C6: 701; C7: 672; C8: 669; C9: 683; C10: 681; C11: 662; C12: 630; C13: 648; C14: 616; D1: 11; D2: 884; D3: 11; D4: 684; D5: 11; D6: 731; D7: 11; D8: 645; D9: 10; D10: 645; D11: 11; D12: 621; D13: 11; D14: 581; E1: 1385; E2: 1427; E3: 1048; E4: 1051; E5: 969; E6: 949; E7: 832; E8: 833; E9: 911; E10: 786; E11: 787; E12: 761; E13: 771; E14: 769; F1: 11; F2: 1448; F3: 10; F4: 1060; F5: 10; F6: 927; F7: 11; F8: 858; F9: 11; F10: 761; F11: 10; F12: 755; F13: 11; F14: 692
End Time |  |  | A2: 2021-07-29 15:10:15